## Assignment
EPI 203: Epidemiologic Methods
Problem Set 7: Understanding Measurement: Aspects of Reproducibility and Validity
Due: November 1, 2016 at 1:30 pm section
Possible points: 30
NOTE: This Excel file already has data entered.
● The calculations (for the answers) are most easily performed using the "functions" and graphing capacity of Microsoft Excel.
● Type your answers into cells on this spreadsheet or use text boxes to display your responses.
NAME:
1. You are asked to be a consultant for the development of a new at-home non-invasive needleless blood sugar (glucose)
monitoring device. The company has presented you with some reproducibility data for the device. They have sampled 30
participants and performed 3 replicate measurements on each patient, one replicate right after the other, which are shown below.
(Clinical note: The normal range for blood glucose in non-diabetics is about 70 to 110 mg/dl; differences less than 10 mg/dl
are not considered clinically significant. In diabetics, blood glucose levels can often be as high as 500 to 700 mg/dl))
Participant | rep#1 | rep#2 | rep#3
1 | 95 | 96 | 91
2 | 142 | 145 | 139
3 | 168 | 171 | 167
4 | 123 | 126 | 123
5 | 110 | 113 | 107
6 | 115 | 116 | 113
7 | 122 | 125 | 118
8 | 148 | 148 | 147
9 | 105 | 108 | 102
10 | 155 | 159 | 154
11 | 168 | 169 | 163
12 | 188 | 188 | 187
13 | 118 | 120 | 117
14 | 114 | 118 | 113
15 | 134 | 137 | 130
16 | 139 | 143 | 137
17 | 149 | 150 | 147
18 | 130 | 133 | 125
19 | 128 | 129 | 125
20 | 124 | 129 | 120
21 | 130 | 131 | 130
22 | 140 | 141 | 136
23 | 142 | 144 | 141
24 | 137 | 141 | 135
25 | 141 | 145 | 140
26 | 105 | 107 | 104
27 | 180 | 182 | 180
28 | 178 | 182 | 177
29 | 108 | 108 | 107
30 | 110 | 113 | 107
a. Determine the within-subject standard deviation for each participant. (2 pts)
b. Plot the within-subject standard deviation versus the mean for each person. Insert plot below or attach. Comment on any
relationship between the within-subject standard deviation and the mean. (2 pts)
c. Determine the "common" (or mean) within-subject standard deviation. Explain or show calculation. (1 pt)
d. The difference between any individual single measurement of glucose on a participant and the value that would be obtained if
you could take the mean of numerous replicates on the participant (i.e., the participant's true value as measured by the device)
would be expected to be less than what value for 95% of all individual single measurements? (2 pts)
e. The difference between any two measurements on the same individual would be expected to be less than what value
for 95% of all pairs of measurements? (2 pts)
f. Is the coefficient of variation a useful measure of reproducibility here? How about the geometric within-subject
standard deviation? Explain your answers. (2 pts)
g. Using the data from this new device, examine the following Stata output. State the ICC. State in words what the ICC means.
(1 pt)
2. These same 30 participants also had blood drawn during the session when the measurements with the new device were taken.
The blood glucose level was measured at the UCSF Hospital Clinical Laboratory - with one assay - as shown below:
Participant | UCSF glucose
1 | 96
2 | 139
3 | 168
4 | 126
5 | 112
6 | 116
7 | 121
8 | 149
9 | 106
10 | 157
11 | 166
12 | 188
13 | 117
14 | 116
15 | 134
16 | 140
17 | 149
18 | 129
19 | 128
20 | 124
21 | 133
22 | 139
23 | 142
24 | 137
25 | 143
26 | 104
27 | 181
28 | 180
29 | 108
30 | 110
a. Examine the difference between the UCSF Clinical Lab value (consider it the gold standard) and the new device value with
a Bland-Altman plot. Insert plot below or attach. (1 pt). Does the difference between methods appear constant over the
range of values? (1 pt) (Note: Use the mean of the three replicates of the new device as the "final" result for the new device.)
b. Determine the numerical bias associated with the new device. (Note: Again, use the mean of the three replicates
of the new device as the "final" result for the new device.) (1 pt)
c. In comparison with the UCSF blood glucose measurement, determine the 95% limits of agreement for the new
device. Note: Again, use the mean of the three replicates of the new device as the "final" result for the new device. (1 pt)
d. Does this new device thus far appear promising for use in research? Explain.
Does the new device thus far appear promising for use in individual patient measurement and management (i.e., clinical practice)?
Explain. If you could collect additional data, what would you want to know? (3 pts)
e. What if the bias was -40 units? Without any major physical re-engineering of the device, what else could be done to make
it clinically useful? (1 pt)
f. What if you wanted to use this new device to measure blood glucose in a new research study where a new drug is being
investigated for toxicity in already well managed diabetics (blood glucose below 200). Blood glucose is one of the outcome
variables. While each replicate of glucose measurement is not that expensive, money for the study is limited.
Would you take one measurement per subject timepoint or would you take replicates? Explain your answer. (1 pt)
|  | Fresh cells | Thawed cells | p value (Student's T test)
after cryopreservation
CD4+ cells |  | 44% +/- 6.4* | 40% +/- 7.5 | 0.08
CD8+ cells |  | 27% +/- 7.8 | 30% +/- 8.9 | 0.27
*values are expressed as mean +/- standard deviation in 19 individuals
The authors concluded that cryopreservation of cells was equivalent to the testing of fresh cells for the enumeration
of CD4+ and CD8+ cells. Do you agree with their conclusion? (1 pt) What other analysis would you perform
if you wanted to know if frozen cells could be substituted for fresh cells in research regarding CD4+ and CD8+ cells? (1 pt)
4. Consider the following abstract:
Objective
To determine the ICC of a self-report questionnaire (the Adolescent Sedentary Activities Questionnaire; ASAQ)
which assesses the time spent in a comprehensive range of sedentary activities, among school-aged young people.
Methods
Two-hundred and fifty school students aged 11–15 years from four primary and four high schools in Australia completed
the questionnaire under the same conditions on two occasions, 2 weeks apart.
Results
Intraclass correlation coefficient (ICC) for time total spent in sedentary behavior were ≥ 0.70 for all students, except for
Grade 6 boys (in which the ICC = 0.57, 95%CI: 0.25, 0.76). Reproducibility was generally higher on week days
compared with week end days.
Conclusions
ASAQ has moderate to excellent reproducibility in the measurement of a broad range of sedentary behaviors among young people.
ASAQ has good face validity, but further validity testing is required to provide a complete assessment of the instrument.
a. Describe what the intraclass correlation coefficient for Grade 6 boys means. (1 pt)
What concerns would you have, if any, about any inferences derived from the ASAQ for Grade 6 boys
if you used the ASAQ as a predictor (exposure) variable, measured on one occasion, in a research study about Grade 6 boys
in Australia? (1 pt)
b. Name two reasons why the ICC in the Grade 6 boys might be so low? (1 pt)
c. You would like to use this same ASAQ measurement tool in a research study you are doing among primary and high school
students in San Francisco. Is there any other information you would like to know before you use it? (1 pt)
5. Assume that you work in a general primary care clinic, one of 5 such clinics in a linked network. Patients in the network are free
to choose among the 5 different primary care clinics. Your clinic chief has become concerned with "patient satisfaction"
and has asked you to come up with a short questionnaire to administer to patients at your one clinic to assess this. You come up
with the following questions: "Are you satisfied with the clinic?"; "Are you satisfied with your primary care provider?";
"Are you satisfied with the nursing staff?"; and "Are you satisfied with the reception desk staff?"
(Response options include: very satisfied, somewhat satisfied, somewhat dissatisfied, and very dissatisfied.)
Unfortunately, there are no concurrent gold standards for "patient satisfaction" to which to compare your measurement questions.
Comment on the ways you would determine the validity of your questions. (3 pts)
Make sure to discuss aspects of content, construct, and criterion validity as described in the McDowell/Newell article.
6. FOR DISCUSSION IN SECTION ONLY
In the Journal Club article by Lane et al. (Arth Rheum 56:3319, 2007), the authors refer to "the coefficients of variation for
Dkk-1" in the Methods section. Describe what the CV means and how it helps you to determine whether or
not this measurement of DKK-1 is useful for research.
3. Examine the following data from Costantini et al. J. Immunological Methods. 278:145-55, 2003.
Cryopreservation (i.e., freezing) is the most commonly used procedure to store peripheral blood lymphocytes for prolonged periods of time. To determine the effect of prolonged cryopreservation on the immunophenotype of peripheral blood lymphocytes, we performed a comparative analysis of fresh blood versus cryopreserved blood in a group of 19 normal individuals. Each individual had fresh cells tested prior to freezing and then had their cells thawed after 2 months of being frozen at -80o C. Cells were tested for the proportion of lymphocytes which were CD4+ and CD8+.
As shown in the table, the authors conclude that no significant differences were observed following cryopreservation in the mean proportions of the two major lymphoid subpopulations, CD4+ and CD8+ cells (p=0.08 and 0.27, respectively).
. loneway Glucose Subject
One-way Analysis of Variance for Glucose:
Number of obs = 90
Source SS df MS F Prob > F
-------------------------------------------------------------------------
Between Subject 50978.056 29 1757.864 271.37 0.0000
Within Subject 388.66667 60 6.4777778
-------------------------------------------------------------------------
Total 51366.722 89 577.15418
Intraclass
correlation Asy.
coefficient S.E. [95% Conf. Interval]
------------------------------------------------
0.98903 0.00348 0.98220 0.99585