| Characteristic/ Purpose | Name of Parameter | Design (What data are needed?) | Graphic (What to plot?) | Initial Calculation | Final Equation | Interpretation |
| --- | --- | --- | --- | --- | --- | --- |
| 1. Reproducibility |  |  |  |  |  |  |
| Research | Intraclass correlation coefficient (ICC) | Repeated (>1) measurements on each subject | none | Determination of overall (2O ), between (2T) and within-subject (2E) variances, typically done within the context of ANOVA (analysis of variance). |  | Fraction of overall observed variability that is accounted for by the underlying true variability between the subjects. |
| Individual subject-level characterization | No conventional name | Repeated (>1) measurements on each subject | Bland-Altman Plot: Within-subject standard deviation (Y) vs. Within-subject mean (X) | Within-subject standard deviation (sw) = square root of the mean within-subject variance. Use geometric within-subject standard deviation if sw is proportional to the mean. | = 1.96sw | The difference between any single measurement on a single person and the true underlying measurement, assuming an unbiased measurement tool, is expected to be ≤1.96sw (or “as much as 1.96sw”) for 95% of measurements. If geometric sw is used, this refers to the ratio rather than difference. |
| Individual subject-level characterization | Repeatability | Repeated (>1) measurements on each subject | Bland-Altman Plot: Within-subject standard deviation (Y) vs. Within-subject mean (X) | Within-subject standard deviation (sw) = square root of the mean within-subject variance. Use geometric within-subject standard deviation if sw is proportional to the mean. | = √2 x 1.96sw = 2.77sw | The difference between any two measurements made on a single person is expected to be ≤2.77sw (or “as much as 2.77sw”) for 95% of the pairs of measurements. If geometric sw is used, this refers to the ratio between any two measurements rather than difference. |
| Individual subject-level characterization | Coefficient of variation (CV) | Repeated (>1) measurements on each subject | Bland-Altman Plot: Within-subject standard deviation (Y) vs. Within-subject mean (X) | Within-subject standard deviation (sw) and mean value (w) of the replicates for each subject. For each subject, calculate the coefficient of variation as (Sw / w). |  | The variability of replicate measures expressed as a fraction of the ambient values on the native scale of the measurement. Lower CV indicates higher reproducibility. |
| 2. Validity |  |  |  |  |  |  |
|  | 95% limits of agreement | At least one replicate per subject from the new measurement tool in question and at least one replicate from the “gold standard” measurement | Bland-Altman Plot: Within-subject difference between methods (Y) vs. gold standard (X) | Mean of within-subject differences between new tool and gold standard. Standard deviation of the within-subject differences ( sd ). | = mean difference ± 1.96sd | The difference between measurements of a single person using the new method and the “gold standard” will reside between (mean difference +1.96sd) and (mean difference -1.96sd) for 95% of the subjects. |
| 3. Method Agreement |  |  |  |  |  |  |
|  | 95% limits of agreement | At least one replicate per subject from one measurement tool in question and at least one replicate from another method, neither one is considered the “gold standard” | Bland-Altman Plot: Within-subject difference between methods (Y) vs. within-subject mean of methods (X) | Mean of within-subject differences between one method and the other method. Standard deviation of the within-subject differences ( sd ). | = mean difference ± 1.96sd | The difference between the measurements in a single person, using two different methods, will reside between (mean difference +1.96sd) and (mean difference -1.96sd) for 95% of the subjects. |

NOTE:  sw = common (mean) within-subject standard deviation.  To calculate sw, you must calculate the average of the individual within-subject variances and then take the square root.  You cannot simply average all the individual within-subject standard deviations.

References:

Bland and Altman.  Applying the right statistics:  analysis of measurement studies.  Ultrasound Obstet Gyncol (2003) 22:85-93.

Bland and Altman. Measurement error and correlation coefficients.  BMJ (1996) 313:41-42.

Bland and Altman. Measurement error proportional to the mean.  BMJ (1996) 313:744.

Bland and Altman. Statistical methods for assessing agreement between two methods of clinical measurement.  Lancet (1986) 307-310.

Szklo and Nieto.  Epidemiology: Beyond the Basics.  3rd edition.

Weir. Quantifying Test-Retest reliability using the intraclass correlation coefficient and the SEM.  J Strength and Conditions Research (2005) 19:231-240.