Virtual FSRT Agenda

Welcome to the VFSRT	5 Minutes

Introductions

Agenda Overview

*** Ask if they’ve watched videos. If not watch it with them. Fingerstick now and Rapid Testing later.

Quick Review of FS (FS: which hand, placement of lancet, etc )

Answer Questions

FS Practice	10 Minutes

Trainer read instructions to the participant and observe one FS procedure

Provide Feedback

FS Proficiency (Best 1 of 2)	15 Minutes

Observe the participant do one FS procedure perfectly. If not done correctly on the first one, provide feedback. A second opportunity is provided.

Provide Feedback

RT Practice	30 Minutes

Quick Review of RT: show filled out QA Log, explain stickers on the CEF, how to correct paperwork, how to convert the date, etc.

Trainer reads instructions to the participant and observe the participant do one RT procedure using a sample from the black vial.

Provide Feedback

While tests develop, do a quick review of results using by screen sharing the “Just Results” slidedeck.

Paste this link into chat, have the click on it and share their screen. https://ucsf.co1.qualtrics.com/jfe/form/SV_5iqHunQDNRBM2sR

Participant will then identify the ten test kit windows. Provide feedback as necessary and have them stop share.

If time permits, practice the window period with them, and providing feedback. Emphasize that this will have no reflection on their passing counseling.

If time still remains, allow participant to return when it is time to read the result.

Check the QA log to ensure that all data is filled out appropriately.

RT Proficiency	60 Minutes

Observe the participant do two RT procedures using samples from the red and white vial.

If not done perfectly on the first one, provide feedback. A second opportunity is provided.

While both tests are developing, paste this link into chat, have the click on it and share their screen. https://ucsf.co1.qualtrics.com/jfe/form/SV_5iqHunQDNRBM2sR

Participant will then identify the ten test kit windows. Provide feedback as necessary and have them stop share.

While tests develop, have them identify the three HCV visual reference panels. https://courses.ucsf.edu/pluginfile.php/1159686/mod_label/intro/HCVVRP.jpg (A=Non-Reactive, B and C=Reactive.) (Note that if they incorrectly identify B, use this as a learning opportunity to discuss limit of detection. Not correctly identifying B is not a cause for failure.)

Once they have finished the laminates send the participant a link to the Trainer Eval.: https://ucsf.co1.qualtrics.com/jfe/form/SV_3VqSr96pkxpTfDw

If time still remains, allow participant to return when it is time to read the result.

Check the QA log to ensure that all data is filled out appropriately.

Results	5 Minutes

Inform them of their success/failure and what next steps are as appropriate.

Remind them to mail back the HCV Visual Reference Panels, thermometer, the waiver of liability if they physically signed it and in the event that they fail have them include the paperwork as well.