## Slide 1: Clinical and Epidemiologic Research:
Sample
Measure
(Intervene)
Analyze
Infer
Notes: Remember from last week how we broke down clinical and epidemiologic research into its most basic elements. We sample human populations, make measurements on people (or gather pre-existing measurements), sometimes intervene, analyze the relationships between these measurements, and then make inferences. Last week we focused on how problems in sampling (and retention) can threaten the validity of our studies; this is manifested in what we called selection bias. Today, we will begin the first of two sessions on measurement, and a strong argument can be made that measurement is the most important element. For example, even in order to sample humans, it is often the case that we have to make some kind of measurement on them first. So, measurement is important in clinical and epidemiologic research starting at the very beginning of our studies.

## Slide 2: “A study can only be as good as the data . . .”
-J.M. Bland
i.e., no matter how brilliant your study design or analytic skills you can never overcome poor measurements.
Measurement is so important that we will:
Dedicate an entire session to it per se
Go well beyond the S&N text
Have you read a few original methodologic articles
“. . . epidemiology is an exercise in measurement”
-K. Rothman, S. Greenland, and T. Lash (ME3)
Notes: JM Bland, the co-author of the recommended readings for this week, said it best in his textbook “A study can only be as good as its data. . . .” In other words, no matter how brilliant your study design or analytic skills, you can never overcome poor measurements.
Rothman, Greenland, and Lash also summed it up well when they said that “epidemiology is an exercise in measurement” in their Modern Epidemiology, 3rd Edition textbook (see course website for reference, now in its 4th edition). For epidemiology, you can substitute any form of human participant-based research. It is all about the measurements.
Unfortunately, measurements are sometimes the most neglected part of the list we just mentioned, and this is why we are going to spend a whole session talking about measurement per se. To do so, we will focus on several articles written by Bland and Altman, whom we think are among the clearest thinkers on the subject. We are giving you these original articles because no textbook explains this material as well as these articles. The other reason we are giving you these articles is to remind you that there is an active methodological literature that underlies everything we teach. Clinical and epidemiologic research methods are not stagnant and like every other field it is important to keep up as they change. Thus, these articles provide some practice in reading methodologic articles.
In particular, the 1986 Lancet paper by Bland and Altman (Statistical methods for assessing agreement between two methods of clinical measurement) in the recommended reading is considered a classic. It is the 3rd most commonly cited statistical paper after the Kaplan-Meier estimator paper (which was in our optional reading) and a paper by Cox on proportional hazards regression (a technique that we have mentioned estimates hazard ratios). The citation history can be found at https://www-users.york.ac.uk/~mb55/meas/history.htm.

## Slide 3: Understanding Measurement: Aspects of Reproducibility and Validity
Reproducibility vs validity of measurements
Focus on reproducibility: Impact of imperfect reproducibility on precision & validity of study inferences
Quantifying reproducibility of interval scale measurements
  Depends upon purpose
    Research
      intraclass correlation coefficient
    Individual-level use
      within-person standard deviation and “repeatability”
      coefficient of variation
Improving reproducibility
(Estimating validity of measurements -- On Problem Set)
Notes: Here is our roadmap for today for our discussion of measurement.
We will first discuss the two main characteristics of a measurement, its reproducibility and its validity. We will then spend the rest of the time focusing on reproducibility and, in particular, explain the impact of reproducibility on validity and on precision of the inferences in our research studies. We will discuss how we can numerically estimate the reproducibility of our measurements and talk about how this is done according to the purpose, either research or individual patient/person-level management/characterization. We will describe the intraclass correlation coefficient for when the purpose is research. When individual patient/person-level management/characterization is the goal, we will discuss the within-person standard deviation, its most useful derivative, repeatability, as well as the coefficient of variation.
We will then end the session by talking about some practical tips to improve reproducibility.
Although we will not discuss validity of measurements in this session, we will work validity in the Problem Set for this week.

## Slide 4: Measurement Scales
Notes: Before we get into the heart of the material today, we need to review measurement scales (also known as measurement types) to make sure everyone understands the terminology we are using. We have broken up measurement into interval and categorical scales. Interval scale means that the difference between each unit on the scale is the same no matter where you are on the scale; for example, for weight, the difference between 150 lbs. and 149 lbs. is the same as between 5 lbs. and 4 lbs. The values that can be observed when using a continuous scale, like measuring weight, are only limited by the mechanical sensitivity of the instrument. On a discrete interval scale, there are a limited number of values such as, for example, when measuring white blood cell count or number of sexual partners where values are limited to integers.
Categorical scales refer to assigning measurements to one of some fixed number of categories, and there is not necessarily the same relationship between each of the categories as there is between units for variables measured with an interval scale. For example, many tumors have staging systems, say like 1,2,3,4 but the difference between stage 4 and stage 3 is not necessarily the same as between stage 3 and stage 2. There is order, however, in tumor staging: 4 is worse than 3 which is worse than 2 and hence such a scale is called an ordinal scale. Nominal scales have no order. Race or religion are examples. Finally, a dichotomous scale has only two values (yes or no, present or absent); these values might have some intrinsic order to humans (dead/alive) or they may not (like ice cream/don’t like ice cream).

## Slide 5: Reproducibility vs Validity of a Measurement
Reproducibility
  degree to which measurement provides same result each time it is performed on a given participant or specimen
  less than perfect reproducibility caused by random error
Validity
  from the Latin validus (strong)
  degree to which a measurement truly measures (represents) what it purports to measure (represent)
  less than perfect validity is fault of systematic error
Notes: Let us start our discussion of reproducibility and validity — when referring to a measurement — by going over some basic definitions. Reproducibility refers to the degree a measurement provides the same result each time it is performed on a given participant or specimen. If you are measuring a given fixed construct over and over with the same technique, we say that anything less than perfect reproducibility is caused by random error.
In contrast, validity is from the Latin validus meaning strong. It is the degree to which a measurement truly measures (represents) what it purports to measure (represent). We say that anything less than perfect validity is the fault of systematic error.

## Slide 6: Synonyms: Reproducibility vs Validity
Reproducibility
  aka: reliability, repeatability, precision, variability, dependability, consistency, stability
  “Reproducibility” is most descriptive term: “how well can a measurement be reproduced”
Validity
  aka: accuracy
Notes: Unfortunately, as in so many parts of clinical and epidemiologic research, the literature is replete with other terms for reproducibility and these include reliability, repeatability, precision, variability, dependability, consistency, stability. Today, we will stick with the term we think is best — reproducibility. It is the most descriptive because it asks “just how well can the measurement be reproduced.”
Note that "consistency" in the context of measurement is not the same as how epidemiologists refer to consistency in the causal inference literature, in which it is referring to an inference from about some exposure on some outcome. And, it is not how statisticians refer to consistency of an estimator, which is how, if there are sufficient observations, the estimator will approach the true underlying value. Thus, there are at least three meanings of the word consistency in clinical and epidemiologic research.
Thankfully, there are not too many synonyms for the concept of validity, but you will find the word accuracy used in this context.

## Slide 7: Vocabulary for Error
 | Overall Inferences from Studies (e.g., risk ratio) | Individual Measurements
Systematic Error | (Last Week) Validity | (This Week) Validity (aka accuracy)
Random Error | Precision | Reproducibility
Notes: Remember from last week, we talked about systematic error and random error in the context of overall inferences (for example, prevalences or risk ratios) from individual studies. We talked about validity capturing the degree of systematic error and the term precision capturing the degree of random error.
This week we are dealing with very similar concepts, but we are talking about individual measurements of either exposure variables or outcome variables (or any other type of variable, such as a confounding variable). For individual measurements of variables, we again talk about validity (although sometimes you’ll hear the term accuracy) when referring to how far off the measurement is from the truth, in other words, the degree of systematic error, but we will use the term reproducibility when talking about the random error.

## Slide 8: Reproducibility and Validity of a Measurement
Good Reproducibility
Poor Validity
Poor Reproducibility
Good Validity
Consider having 5 replicates (aka repeat measurement) (e.g., height)
Notes: Remember these figures from last week in the context of having five different attempts at estimating an overall inference in a study by drawing 5 different samples of a given study design. This week, we will consider these figures in the context of making an individual measurement on a participant or a biological specimen derived from a participant. Consider that we are attempting to measure the truth about a particular aspect of a given individual (say, it is his/her/their height) and we are given five tries. The center of the diagram represents truth. On the left, we have five replicates — a term which means repeated measurement — which are closely bunched, i.e., reproducible, but they are off target, so they have poor validity. On the right, the replicates are all over the place, i.e., poor reproducibility, but their average or central tendency is right on target. We say that the measurement has good validity.

## Slide 9: Reproducibility and Validity of a Measurement
Good Reproducibility
Good Validity
Poor Reproducibility
Poor Validity
Notes: Of course, what you want is this (on the left) — good reproducibility and good validity. On the right is what you want to avoid — poor reproducibility and poor validity.

## Slide 10: Understanding Measurement: Aspects of Reproducibility and Validity
Reproducibility vs validity of measurements
Focus on reproducibility: Impact of imperfect reproducibility on precision & validity of study inferences
Quantifying reproducibility of interval scale measurements
  Depends upon purpose
    Research
      intraclass correlation coefficient
    Individual-level use
      within-person standard deviation and “repeatability”
      coefficient of variation
Improving reproducibility
(Estimating validity of measurements -- On Problem Set)
Notes: Now that we have defined and contrasted measurement reproducibility and validity, we will spend the rest of the session focusing on reproducibility. We will start by focusing on the impact of imperfect reproducibility on the things you do downstream with the measurement, meaning the impact on the precision and validity of study inferences. This is to give you a sense of just how important it is to have reproducible and valid measurements, a topic we will cover in even more detail next week. This is just a preview.
We will then talk about quantifying reproducibility and improving it.
We are not ignoring validity. Instead, you will have chance to get practice with validity of measurements in this week’s Problem Set.

## Slide 11: Impact on Precision of Inferences Derived from Measurement (and later: Impact on Validity of Inferences derived from measurement)
Classical Measurement Theory:
  observed value (O) = true value (T) + measurement error (E)
  If we assume E is random and normally distributed:
    E ~ N (0, 2E)
  Mean = 0
Fraction
error
-3
0
.02
.04
.06
Error
-2
-1
0
1
2
3
Distribution of random measurement error
Why Care About Reproducibility?
  Variance = 2E
Notes: Why care about reproducibility? There are two reasons: the first is that it can have a big impact on the precision of the inferences you go on to make with these measurements (e.g., when you relate one measurement with another and to estimate things like risk ratios). The second reason is that it can have a big impact on the validity of your studies. Let us first talk about the impact of reproducibility on precision of our inferences.
To understand the impact of reproducibility of a measurement on the precision of downstream inferences, we need to look at a page from classical measurement theory. We would all agree that when we make a measurement on someone with a valid measurement tool the observed value we obtain is the combination of the true underlying value and some measurement error. When we say a “valid” measurement tool, we mean what we displayed on the target diagrams a few slides ago. That is, the central tendency of the measurement, if we performed it repeatedly, would be the truth. We will assume here — and it is a reasonable assumption — that this measurement error is random and normally distributed. Graphically, with these assumptions in mind, if we were able to make a zillion replicate measurements of some entity on a given person, say weight or height, the figure shows the distribution of what the error term would look like. The majority of the errors are clumped around zero and the mean is zero. As we move away from zero, we see a smaller frequency of errors. The variance of this distribution is known as sigma squared subscript E (“sub E”). Sigma squared is the notation we use for the variance of a distribution and sigma alone (i.e., the square root of variance) is the standard deviation.
The shorthand notation we use is E ~ N (0, 2E). This means that the measurement error, which we call E, is distributed (that is the tilda sign), normally (depicted with an N) and that it has a mean of zero (the first number in the parentheses) and some variance, signified by sigma squared subscript E (which is the second number in the parentheses). For example, we may say that error, E, is E ~ N (0, 1) for an error term whose mean is 0 with a variance of 1.

## Slide 12: Impact of Reproducibility on Precision of Inferences
What happens if we measure, e.g., height, on a group of people?
Assume for any one person:
  observed value (O) = true value (T) + measurement error (E)
  E is random and ~ N (0,  2E)
Then, when measuring a group of people, the variability of observed values ( 2O ) is a combination of:
  the variability in their underlying true values ( 2T )
  and
  the variability in the measurement error ( 2E)
  2O = 2T + 2E
True Between-person variability
Within-person variability
Notes: What happens when we jump from measuring one person to measuring a group of people, as is our usual practice in clinical and epidemiologic research? Let us say we are measuring height.
Assuming that measurement error is random and normally distributed, then the variability of observed values in the group — again depicted by its variance (sigma squared subscript O, in which the ‘O’ stands for observed) — is a combination of the variability of the true values in the group of people (sigma squared subscript T) and the variability in the measurement errors (sigma squared subscript E). Thus, the formula is: 2O = 2T + 2E
In words: sigma squared observed = sigma squared true values plus sigma squared for the error. That is, the variance of the observed values = variance in the true values and the variance in the measurement error. The variance in the error is what we depicted in the last slide. We will not mathematically formally prove this and instead ask you to accept it at face value. However, at face value it does make sense.
We will use the terms “within-person variability” and “measurement error” synonymously.

## Slide 13: Why Care About Reproducibility?
2O = 2T + 2E
More random measurement error when measuring an individual means more variability in observed measurements of a group
  e.g., measure height in a group of participants.
  If no measurement error
  If measurement error
Height
Frequency
Distribution of observed height measurements
Notes: This is a handy equation to know. It follows that the more random measurement error you have when measuring an individual participant (i.e., the wider the variance of the measurement error) the more variability you are going to see in your observed measurements when looking at a group of persons.
For example, what if you measured height in a group of research participants? If there was no measurement error and all you had to deal with was the underlying variability in the true heights of the participants, the distribution or variability of the heights would look like this (the narrower distribution). However, if you also have to deal with non-zero measurement error, then there is an extra source of variability and now the observed variability in height will look like this (the wider distribution). In other words, there is more overall variability.

## Slide 14: More variability of observed measurements has important influences on statistical precision/power of inferences
2O = 2T + 2E
Descriptive studies: wider confidence intervals
Analytic studies (Observational/RCT’s): power to detect an exposure (treatment) difference reduced for given sample size
truth
truth + error
truth
truth + error
Confidence interval of the mean
Confidence interval of the mean
Exposed
Unexposed
Notes: Measurement error adds to the total observed variability for any measurement on a group of people. Why is this important? It is important because more variability in the observed measurements has important influences on statistical precision in all study designs. In descriptive studies, more variability means wider confidence intervals in one’s estimate. If your goal is to estimate the mean height, for example, in a given population, then more variability in the observations leads to a wider confidence interval in the estimated mean, shown here. In other words, when we perform our study, there is less certainty as to what the true value is. This is unfavorable for our goal of description.
In analytic studies, be they observational or experimental, more variability translates to less power, for a given sample size, to see if a given exposure/treatment variable is associated with an outcome variable. This is depicted in the lower panel. The left graph show the distribution of say, height, in two groups of people using a tool that has no measurement error. We just see the distribution of the true values of outcome in the two exposure groups. In the right graph, we see the two distributions of the outcome when using a measurement that has some random error. When measurement error increases, the variability of measurement within two groups under study increase. Distinguishing between the two means in the left panel is much easier (smaller sample size needed) than distinguishing the two means in the right panel. The more variability you have in groups, the less statistical power you have to detect a given difference in the means of the two groups for any given sample size. This is unfavorable in observational or experimental studies.
So, no matter what kind of work you do there is no escaping the unfavorable influences of measurement error.

## Slide 15: Effect of Variance (2O) on Statistical Power
e.g., evaluation of skin fold thickness in 2 groups
Effect size = 0.4 units
100 persons in each group
Alpha = 0.05
Standard deviation (O) of skin fold thickness
(standard deviation = square root of the variance in the study population)
Notes: Let us look formally at how the observed variability of a measurement influences statistical power. Those of you who have played around with the effects of changing standard deviation for an outcome variable in your sample size calculations are aware of this. Here is a scenario where we are evaluating means of, say, skin fold thickness (the outcome variable), in 2 exposure groups, and the effect size is 0.4 units (the actual units do not matter). Let us say that we have 100 participants available to us in each group. If the standard deviation of the outcome variable is 1 (which is the same as a variance of 1), then we would have a respectable 80% power to detect an effect size of 0.4. What if the standard deviation of the outcome variable is 2 (equivalent to a variance of 4). Now, power is about 30%. One would be ill advised to conduct a research study with only 30% power.
As a reminder, statistical power refers to the probability of detecting an effect if one truly exists. The typical advice is to strive for 80% to 90% power when planning a study.

## Slide 16
Many researchers are aware of the influence of too much variability in a study variable
Fewer wonder how much of variance is due to:
  random within-person measurement error (2E)
  vs
  true between-person variability (2T)
Notes: Many of you have already appreciated the influence of too much variability in a study outcome, but how many of you have wondered how much of this variability is due to random within-person measurement error vs true between-person differences?
We will later talk about what we can do to reduce this variability.

## Slide 17: Why Care About Reproducibility?
Impact on Validity of Inferences Derived from Measurement
Consider a study of height and basketball-shooting ability:
  Assume height measurement: imperfect reproducibility
  Imperfect reproducibility means that if we measure height twice on a given person, most of the time we get two different values; at least 1 of the 2 individual values must be wrong (imperfect validity)
  If study measures everyone only once, errors, despite being random, will lead to biased inferences when using these measurements (i.e., inferences have imperfect validity)
Notes: The prior slides described the influence of reproducibility on the precision of study inferences. How about the impact of measurement reproducibility on the validity of inferences derived from measurements? We are going to say much more about this next week in our session on measurement bias, but let us go through a simple example now.
Consider a study looking at the causal role of height (exposure) and basketball shooting ability (outcome). Assume that we are working with a measurement of height that has imperfect reproducibility, but the outcome variable has perfect reproducibility. Imperfect reproducibility means that if we measure height twice on a given person, we will most of the time get two different values. That means that most of the time at least one of the two individual values must be wrong (i.e., imperfect validity).
When we actually do our study, if we make the measurement only once on everyone, as is our typical practice, the errors in the measurement, despite being random, will result in biased inferences when we start to look at the association with basketball-shooting ability. In other words, the lack of reproducibility leads to getting an answer that will differ from the true answer, i.e., this means the study inference will have imperfect validity.

## Slide 18
Measurement Bias
More next week
Notes: Let us work through some numbers. Again, we are interested in determining the causal relationship between height and ability to shoot a basketball into a hoop. Say that you make a cutoff of 6 feet to designate a tall person, your exposure variable. Let us say that height is indeed truly associated with basketball ability; say that tall persons are one and 1/2 times more likely to be good basketball shooters. In the top left corner is what a 2x2 table would look like if this were the case and if everything was measured with perfect reproducibility and validity. If we did a study of 100 persons, 10 of 40 of those above 6 feet are found to be good shooters compared to 10 of 60 of those below 6 feet. This amounts to a prevalence ratio of 10/40 divided by 10/60 or 1.5. If, however, our measurement of height is not perfectly reproducible and that when we measure everyone only once, let us assume that we will misclassify 10% of individuals. That is, we will have 10% of those truly tall being classified as short and 10% that are truly short being classified as tall. Because this is random error, this will happen to the same degree in the good shooters versus the poor shooters. You see here how the cells begin to change in the presence of this misclassification. Among the good basketball players, one truly tall person is mistakenly called not tall and one truly not tall person is mistakenly called tall. Among the poor basketball players, 10%, or 3, of the tall players are mistakenly called not tall and 5 of the 50, again 10%, not tall persons are classified as tall. The net effect of this measurement error (which we call misclassification) is shown here in this 2x2 table. The association that you find in your study sample will be blunted or attenuated in reference to the truth, i.e., a biased inference. The truth is that tall persons are 1.5 times more likely to be good basketball shooters. What you observed, however, is that tall persons are only 1.38 times more likely. The point is that imperfect reproducibility of the height measurement, i.e., random measurement error, can lead to biased inferences, in other words, wrong answers. The wrong inferences are in a predictable direction, which is that they are towards the null value of 1.0. Next week, we will cover the effects of random measurement error on validity in even more detail, but suffice it to say for today that lack of reproducibility has an important impact on validity .

## Slide 19: Understanding Measurement: Aspects of Reproducibility and Validity
Reproducibility vs validity of measurements
Focus on reproducibility: Impact of imperfect reproducibility on precision & validity of study inferences
Quantifying reproducibility of interval scale measurements
  Depends upon purpose
    Research
      intraclass correlation coefficient
    Individual-level use
      within-person standard deviation and repeatability
      coefficient of variation
Improving reproducibility
(Problem set: assessing validity of measurements)
Notes: Let us pause for a moment to see where we are: We have defined reproducibility and validity of measurements and focused on reproducibility in terms of its influence on precision and inferences. Let us now discuss how we actually express, or quantify, reproducibility. We will do so depending upon the purpose of the measurement, which we will define as either for purposes of research or for purposes of individual-level classification.

## Slide 20: Numerical Estimation of Reproducibility
Many options in literature, but choice depends on purpose/reason and measurement scale
Two main purposes/reasons to estimate reproducibility:
  Research: Should more effort be exerted to further optimize reproducibility of the measurement?
  Individual-level (clinical) characterization: Just how different could two measurements taken on the same individual be — from random measurement error alone?
Notes: How do we go about actually estimating reproducibility — in other words, put it into a number?
There are many options described in the literature. In fact, it is a dizzying array of options and confusion. The proper choice depends on the purpose or reason you have in mind when assessing reproducibility and the measurement scale.
We contend that there are two main reasons to estimate reproducibility. The first reason pertains to research. It is the question of whether more effort should be exerted to further optimize/improve the reproducibility of the measurement? This question goes beyond just academic curiosity of knowing how reproducible is one’s measurement. This question asks if there is a good reason for us to consider doing something to improve the reproducibility of our measurement. It is a practical question. In research, we use measurements to make inferences. When doing so, we always need to be thinking if our measurement approach is good enough (is it reproducible enough) or does it need enhancement.
The second reason pertains to individual-level characterization (e.g., individual patient or clinical management or classification), which although not the focus of this course, is an important goal and gives information about the inherent reproducibility of the measurement that most observers are interested in. For this purpose, the question is: Just how different could two measurements taken on the same individual be — from random measurement error alone? Although this course is not about individual-level characterization, it is important to understand the differences in these two purposes of measurement.
As a preface to this dichotomy, let us recall that in research we are virtually always working at the group level, no matter if we are working on descriptive or analytic objectives. In analytic work, for example, we are performing comparisons between groups and no single measurement on any single individual will necessarily change the overall inference or outcome of the research. (Note: this is not to say that individual-level measurement is not crucial for individual-level management in some research studies). The metric that we will use to depict reproducibility for purposes of research, the intraclass correlation coefficient (ICC), tells us about reproducibility of a measurement in the context of total variability of a group. In other words, the group is at the forefront of the intuition of the ICC. The intuition tells us that if between-person differences in the group are great, then we do not need a highly reproducible measurement tool. In contrast, when we seek to make individual-level classification, we are usually doing so for the purposes of making some decision regarding that individual. Everyone else in the group does not matter. By individual-level use, we mean anytime individual-level characterization is needed. Clinical management is one such example. We perform measurements on individual patients in order to guide a decision. This preface tells us that in research we need a metric that characterizes reproducibility in the context of a group. For individual-level characterization, we need to express reproducibility at the level of the individual.

## Slide 21: Estimating Reproducibility of an Interval Scale Measurement: Example: A New Method to Measure Peak Flow
Purpose of calculation: Should more effort be given to enhance reproducibility for use in research?
Assessment of reproducibility requires >1 measurement per person
Peak Flow in 17 young adults
(modified from Bland & Altman)
Notes: Let us consider an example of an interval scale measurement. Consider that we are evaluating a new method to measure peak expiratory flow, a measure of how fast you can expire from your lungs (i.e., blow out of your mouth). We seek to use this measurement in our research. And, let us consider that our goal or purpose is to see whether we need to improve the reproducibility of this measurement for use in our research. These data are modified from the work of Bland and Altman.
To assess reproducibility, it should go without saying that we need to make more than one measurement on each person. This is actually perhaps not so obvious to everyone as Bland and Altman point out in some of their other articles where they describe many examples of authors attempting to describe the reproducibility of a measurement despite having made only one measurement per person. There is a distinct science to designing studies to estimate reproducibility, which we will not cover in detail in this course. Rather, we will work on understanding the results of such studies.
Here is the structure of the data of peak expiratory flow: 17 participants and two measurements for each participant. How should we approach quantifying the reproducibility of the measurement?

## Slide 22: A Mathematical Definition of Reproducibility
Reproducibility
Varies from 0 (poor) to 1 (optimal)
As reproducibility approaches 1, variability is virtually all between-person
  Little room/need to diminish within-person random error
  Not much you can do with the measurement to decrease observed variability (but you could work on participants)
Notes: To better understand the impact of reproducibility on our inferences in our estimates in research studies and whether we should work to improve reproducibility, we need a mathematical definition of reproducibility.
Reproducibility is the fraction of the total observed variance, when measuring a group of participants, that is accounted for by the variability in the true between-person values. If all the variance in your measurements that you see is simply because the different people you are measuring are inherently variable, then you have complete 100% reproducibility. Thinking about reproducibility like this, it then varies from 0 (poor) to 1 (optimal). Looking at this equation, as measurement error becomes small (i.e., goes to zero), the within-person error term leaves the denominator and you end up with sigma squared of the true values divided by itself, or 1.
Another way to think about this is that 1 minus reproducibility, which is sigma squared sub E over sigma squared sub 0, is the fraction of overall variability attributed to random measurement error.
Again, it is important to be sure about your purpose. The question that was posed in the last slide was “Do we need to improve the reproducibility of this measurement for use in research?”. Remember that as reproducibility approaches 1, the variability is more and more from true between-person variability. This means that there is very little room or need to diminish within-person random error; there is not much you can do to decrease the observed variability. If you wanted to decrease overall variability in the measurement, you would have to work on getting a more homogeneous (i.e., less variable) sample of participants.

## Slide 23: ICC
Think of as ratio
  Spread of True Signal between people to
  Spread of (True Signal + Noise)
In research, our goal is to be able to distinguish between people when they are truly different.
Hence, we want the ICC, which is spread of true signal compared to total, to be very high
Intraclass correlation coefficient (ICC)
Notes: This mathematical expression for reproducibility is called the intraclass correlation coefficient, or ICC. This is not exactly an intuitive name nor is there much awareness of it, but it is nonetheless very useful. Note that it is important to include the “intraclass” distinction in the name. In contrast, the interclass correlation coefficient is the less commonly used name for the commonly known Pearson correlation coefficient, the most common parametric statistical test for correlation between two variables.
Think of the ICC as a ratio; it is a ratio of the spread of the true signal between people to the spread of the total signal plus all of the noise. In research, our goal is to be able to distinguish between people when they are truly different. That said, when you have a spread of the true values between people you sure do not want it to be dwarfed by the noise in the measurement. Hence, you want the ICC ratio to be very high, i.e., you want most of the total spread in the observed data to be attributable to the true spread between people.

## Slide 24: Intraclass Correlation Coefficient (ICC)
ICC
. loneway peakflow subject
  One-way Analysis of Variance for peakflow:
  Source SS df MS F Prob > F
  -------------------------------------------------------------------------
  Between subject 404953.76 16 25309.61 108.15 0.0000
  Within subject 3978.5 17 234.02941
  -------------------------------------------------------------------------
  Total 408932.26 33 12391.887
  Intraclass Asy.
  correlation S.E. [95% Conf. Interval]
  ------------------------------------------------
  0.98168 0.00894 0.96415 0.99921
Interpretation of the ICC?
Calculation explained in S&N Appendix; available in “loneway” command in Stata (set up as ANOVA)
98% of the total variability is due to inherent true between-person variability, and only 2% is due to within-person random measurement error.
Notes: The ICC is the fraction of the total variability that is explained by the true between-person variability. If all of the variability in observed measurements in a group of persons is simply because of the inherent differences between persons and none of it is because of measurement error, then reproducibility (ICC) will be 1.
We are not going to dwell on how to calculate the ICC. It turns out that there are at least six slightly different flavors, and some of this is explained in the appendix in the S & N textbook. In Stata, the ICC is most easily determined when setting up the data as you would for an ANOVA (analysis of variance). When we do this, we find that the ICC for this new measurement of peak flow is 0.98. The Weir article in the optional reading (Journal of Strength and Conditioning Research 19(1), 231–240, 2005) has a table which shows the slightly different formulations of the ICC.
What does this 0.98 mean? It means that 98% of the total variability in the peak flow measurements is due to inherent true between-person variability and only 2% is due to within-person random measurement error.

## Slide 25: ICC for New Peak Flow Measurement
Should you do more work to optimize reproducibility of this measurement before it is used in your research?
No. Good to go! - A
Need more information - C
More optimization needed- B
ICC = 0.98
Notes: 25
What do we think of the ICC of 0.98?
Should more work be done to optimize reproducibility of this measurement before it is used in your research project?

## Slide 26: ICC for New Peak Flow Measurement
No. Good to go! - A
Need more information - C
More optimization needed- B
ICC = 0.98
Should you do more work to optimize reproducibility of this measurement before it is used in your research?
Notes: 26
0.98 sounds very high, and thus sounds like excellent reproducibility, but it turns out that you need more information.

## Slide 27: ICC for Peak Flow Measurement
ICC = 0.98
Caveat for interpreting an ICC:
  For any given level of random error (2E), ICC will be larger as 2T is larger, and smaller as 2T is smaller
  ICC only relevant in the population from which data are representative sample (i.e., ICC is population dependent)
Implication:
  You cannot use any ICC to assess your measurement.
  ICC measured in a different population than yours (i.e., smaller or larger 2T ) will not be relevant to you
  You need to know the population from which an ICC was derived
Notes: So, the ICC for the peak flow data is 0.98. What does this tell us? Is this new measurement suitable for your research? Or, stated as we did before, should more work be done to optimize reproducibility of this measurement for your research?
Before you answer this, there is one caveat to point out about the ICC. Note that for any given level of random within-person measurement error, the ICC will be larger if the true between-person variability is larger and smaller as the true between-person variability gets smaller. That said, this ICC that we calculated will only be relevant in a population that had this same (or very close) between-person variability.
What is the implication of this? It is that you cannot use any ICC that you find in the literature to assess your measurement. You need to know the population from which it was derived and whether that population is similar to the one you are studying. Any given ICC value, because it is so dependent upon the variability of true between-person spread, is only relevant to the population it was derived in (or one with a similar between-person variability).
If this ICC of 0.98 was derived in a population that we will be studying in our research (i.e., our research study population is representative of (or similar to) the population in which the ICC of 0.98 was derived), then the value of 0.98 indicates that you would not gain much by optimizing its reproducibility. We should not spend resources on trying to optimize reproducibility. However, if this ICC was derived in a population with greater true between-person variability than our population, then the ICC in our population is going to be lower and hence we might seek to further optimize the reproducibility (depending on just how low the ICC becomes). If this ICC was derived in a population with lower true between-person variability than our proposed study population, then the ICC is going to be even higher in our study population, in which case there would be little gained in trying to enhance reproducibility. Hence, we need to understand how the populations in question differ, if at all.

## Slide 28
Overall observed variance (s2O ~ 2O)
Exploring the Dependence of ICC on Overall Variability in the Population
Notes: Let us explore the dependence of ICC on the observed overall variability in the population. We can determine the overall variance in the peak flow data in ways you likely already know how to do. This is the usual calculation of variance. For each observation, you subtract it from the mean and then square the difference. You then add up all of these terms, in what is known as the “sum of squares”. You then divide the sum of squares by the total number of observation minus 1. Remember, each participant contributed two replicates (two observations).
After working through the math, the variance is 12392. This is not on the original scale (units) of peak flow. It is on a units-squared scale, which is difficult to interpret.

## Slide 29: Impact of 2O on ICC
Scenario | 2O | 2E | ICC
Peak flow data sample | 12,392 | 234 | 0.98
More overall variability | 20,000 | 234 | 0.99
Less overall variability | 1200 | 234 | 0.80
When planning studies, to understand if further optimization is needed of a measurement’s reproducibility:
  need to evaluate an ICC from a similar population as yours; or
  directly estimate what the ICC will be in your study population
Notes: Thus, for the peak flow data, the overall observed variance is 12,392. In calculations we will explain later, the sigma squared sub E, the within-person variability, is 234. 234 divided by 12392 is 0.98, which is what we calculated before using Stata.
Now, let us understand the impact of this new peak flow measurement when used in other populations. Let us say we are performing research with a population with even more overall between-person variability, where let us say the overall variance is 20,000. Now the ICC is going to be even higher, 0.99, and there is even less influence from the within-person error term. Nothing about the goodness of the measurement changed, but we are simply using it in a population that has more variability. So, in this population, problems with reproducibility are negligible and you do not have to spend any time optimizing the reproducibility of the measurement. However, what if we were studying a much more homogenous population where the overall variance was 1200. Now the impact of the error term is higher and the ICC is 0.80, in other words, 20% of the variability is due to random measurement error. Now, for example, you might want to do something (e.g., begin taking replicate measures) to improve reproducibility and decrease the within-person variability. However, now that the overall variability is lower (1200), there may not be any need to do anything. This would depend upon how many participants are readily available to you (and other factors) and minimal desired effect size.
The conclusion of these calculations is that when planning research studies, in order to understand if further optimization is needed of a measurement’s reproducibility, it is important to evaluate a previously established ICC from a similar population or, if this is not available, make an estimate of what the ICC is in your proposed study population.

## Slide 30: Dependence on ICC on Between-person Variability
Is this dependence a limitation of the ICC?
Wouldn’t it be better just to have 1 number for measurement reproducibility you could use everywhere?
Answer: No
In research:
  goal is to distinguish between participants when there is truly a difference (seeing signal above the noise)
  therefore, the question for our measurement is whether it is good enough to distinguish -- the ICC helps to tell us this
If difference between participants is truly great, then only a crude measurement tool is all you need
ICC provides information on reproducibility of the measurement in the context where it is being used
Notes: Sometimes people have asked whether this dependence on population a limitation of the ICC? In fact, some writings indicate that it is a limitation. After all, wouldn’t it be better to just have one number that we could use to quantitate reproducibility and use in all contexts?
The answer is no. This is because in research our goal is to be able to distinguish between participants when there is truly a difference between them. In other words, we want to be able to tell signal above noise. Therefore, we need to know if our measurement is good enough to make this distinction. Thankfully, the ICC tells us this.
Stated another way, if the difference between participants is truly great, then only a crude measurement tool is needed to tell them apart. On the other hand, if the difference between participants is small, then you need a very sharp and reproducible tool. The ICC tells us how sharp our tool is in the context of the population in which it is being used.

## Slide 31: ICC for Peak Flow Measurement
ICC = 0.98
Is this suitable for research? Should more work be done to optimize reproducibility of this measurement?
If peak flow measurement will be studied in a population with similar (or greater) 2T as the population where this ICC was derived, then no further optimization of reproducibility is needed
Notes: What is the bottom line for this new peak flow measurement?
If peak flow measurement will be studied in a population with similar (or greater) 2T as the population where this particular ICC was derived, then the ICC of 0.98 is relevant and therefore no further optimization of reproducibility is needed. An ICC of 0.98 means virtually all of the observed variability is because of true between-person variability.

## Slide 32: Some other ICC’s
Chambless AJE 1992. †Point estimates and confidence intervals
Reproducibility of lipoprotein measurements in the ARIC study
ICC
ARIC is a nationally representative sample of U.S. adults
Notes: Here are some real-world examples of ICC. These are ICCs for plasma lipoprotein measurements from the population-based ARIC study, which is a nationally representative cohort of adults in the US. ARIC stands for Atherosclerosis Risk in Communities. Because these are derived from population-based samples, they can be considered representative of the general U.S. population. Although it seems nice to have an ICC from the general population, if you are not using the general population in your work then you cannot consider these ICCs appropriate for your population. You can see how the ICCs vary widely by analyte
The term “analyte” is a good one to know. It means something that is analyzed, typically some biochemical entity.
This table is from the S & N textbook.

## Slide 33: Interpreting ICCs
You are planning a study of these analytes in African-American girls in San Francisco.
Just APO A-1 - A
Need more information - E
All of them - C
None of them - B
Those whose CI is > 0.10 units - D
ICC
For which analyte(s) should you consider improving reproducibility?
Notes: 33
Let us say that you are planning to perform a study of these analytes in African-American girls (age 8 to 14) in San Francisco. For which of them should you consider improving reproducibility?

## Slide 34: Interpreting ICCs
You are planning a study of these analytes in African-American girls in San Francisco.
Just APO A-1 - A
Need more information - E
All of them - C
None of them - B
Those whose CI is > 0.10 units - D
ICC
For which analyte(s) should you consider improving reproducibility?
Notes: 34
The best formal answer is that you need more information. Specifically, you really need to know what the overall observed variability will be in African-American girls, and this has not been given to you. Formally, the overall variability might be smaller or it might be larger than the variability in the population that was used to calculate these ICCs. You really do not know this with certainty until you measure it or you identify it from prior research. However, it is also reasonable to infer that because this is a narrower population than the general U.S. population, the overall variability will be smaller and hence the ICC will only be lower. In other words, these ICCs from ARIC came from a nationally representative sample of U.S. adults where we expect to see broad variability. Now, we wish to study these in a narrower population group (African-American girls in San Francisco). We expect that this narrower population will have an overall lower variability. Given this, even the analytes with high ICC, such as total cholesterol or Lp(a), will have a lower ICC when assessed in a narrower population. Thus, if you assumed that the ICCs would all decrease and you might want to consider improving reproducibility on all of them, then you would have also answered this question correctly.

## Slide 35: Understanding Measurement: Aspects of Reproducibility and Validity
Reproducibility vs validity of measurements
Focus on reproducibility: Impact of imperfect reproducibility on precision & validity of study inferences
Quantifying reproducibility of interval scale measurements
  Depends upon purpose
    Research
      intraclass correlation coefficient
    Individual-level use (i.e., individual-level management or classification)
      within-person standard deviation and “repeatability”
      coefficient of variation
Improving reproducibility
(Estimating validity of measurements -- On Problem Set)
Notes: We mentioned earlier that there are two main purposes or reasons for estimating reproducibility. One is for research, which we just covered, but there is another reason, which comes up in clinical management or in any other context in which we need to make an individual-level characterization. Let us now move to this other reason to quantify reproducibility.

## Slide 36: Other Purpose in Calculating Reproducibility
In clinical management or individual participant characterization/classification, we often like to know:
  Just how different could two measurements taken on the same individual be -- from random measurement error alone?
Not the focus of research/this course, but it is important to know about/distinguish these concepts from research needs
Notes: In clinical management or any situation where the goal is individual-level characterization, the question is: Just how different could two supposedly identical measurements taken on the same individual be, just from random measurement error alone?
Again, this is not the typical focus of research or this course, but it is important to be able to know about/distinguish these concepts from the research needs which we just covered.
Individual participant characterization, however, does sometimes come up in research. For example, when we enroll people into research studies, we often use inclusion and exclusion criteria, which are indeed individual-level measurements we need to make on people to decide if individual people qualify or do not qualify for our studies. The reproducibility of the measurement will be important in knowing to what extent the persons whom we want to enroll are actually enrolled.

## Slide 37: Starts by estimating 2E and the within-person (within-person) standard deviation
Can be estimated if we assume:
  mean of replicates in a participant estimates true value
To begin, for each participant, the within-person variance s2W (looking across replicates) provides an estimate of 2E
s2W
Notes: To address this question of individual-level characterization, we first estimate the within-person variability, which is the variance term caused by measurement error. Remember, we already had an interest in this when we were evaluating the ICC.
Thankfully, we can get this direct estimate from the data if we are willing to make a reasonable assumption. That is, we need to assume that the mean of measurement replicates on a given person is an unbiased estimate of their true value. In other words, if you could measure someone over and over again, we could take the mean value as the true value for that measurement for that person.
If this assumption can be made, then the process of addressing reproducibility for purposes of individual-level characterization starts by having each participant provide an estimate of the within-person variance by looking across replicates in each participant. The within-person variance (known as “s-squared sub w”) in the study sample provides an estimate of the true population parameter sigma squared sub E. Each participant’s estimate is provided by the within-person variance — s2W — looking across his/her replicates.
As we know, the calculation for variance is .
In the peak flow data, for the first participant, the mean value is 492, and we have two replicates for each person. (Earlier reference to 3 replicates is incorrect; we just have two replicates, and, indeed, two is sufficient to perform this calculation). If you work out the variance (using the formula above) of the two values, 494 and 490, you will see that it is 8. You can easily calculate the within-person variance for each participant.
To address this question of individual-level characterization, we first estimate the within-person (or within-person) variability, which is the variance term caused by measurement error. Remember, we already had an interest in this when we were evaluating the ICC.
Thankfully, we can get this direct estimate from the data if we are willing to make a reasonable assumption. That is, we need to assume that the mean of measurement replicates on a given person is an unbiased estimate of their true value. In other words, if you could measure someone over and over again, we could take the mean value as the true value for that measurement for that person.
If this assumption can be made, then the process of addressing reproducibility for purposes of individual-level characterization starts by having each participant provide an estimate of the within-person variance by looking across replicates in each participant. The within-person variance (known as “s-squared sub w”) in the study sample provides an estimate of the true population parameter sigma squared sub E. Each participant’s estimate is provided by the within-person variance — s2W — looking across his/her replicates.
As we know, the calculation for variance is =(∑_𝑖▒〖(𝑥_𝑖−𝑥 ̄)^2 〗)/(𝑛−1) .
In the peak flow data, for the first participant, the mean value is 492, and we have two replicates for each person. (Earlier reference to 3 replicates is incorrect; we just have two replicates, and, indeed, two is sufficient to perform this calculation). If you work out the variance (using the formula above) of the two values, 494 and 490, you will see that it is 8. You can easily calculate the within-person variance for each participant.

## Slide 38
Common (or mean) within-person variance (s2W ~ 2E)
Common (or mean) within-person standard deviation (sw ~ E)
“s” when estimating from sample data
“” when referring to population parameter
s2W
Notes: We can obtain the average of the within-person variances in our sample data, s2W, to get the best estimate of s2W. We call it the common or mean within-person variance. If we work through the math, it is 8 plus 72 plus all of the rest, divided by 17, equals 234. A note on usage: Because we are estimating this from sample data, we call it “s” squared. It is estimating a population parameter, sigma squared. It is easy to get confused on this notation.
The common or mean within-person standard deviation (sw) is just the square root of the variance. Hence, sw (pronounced “s sub w”) is 15.3 and the units are the same as the original scale. Note: The common within-person standard deviation needs to be calculated by first working with the variances and then taking the square root at the end, as we have shown. The variance is the mathematically fertile entity. Attempts to calculate each person’s within-person standard deviation and then taking the mean will get a different answer, an incorrect answer. It will not be that different, but it is incorrect.

## Slide 39: Impact of 2O on ICC
Scenario | 2O | 2E | ICC
Peak flow data sample | 12,392 | 234 | 0.98
More overall variability | 20,000 | 234 | 0.99
Less overall variability | 1200 | 234 | 0.80
Remember, we used 234 earlier to illustrate the ICC.
Now we know how to calculate it.
Notes: Remember, we used 234 (an estimate of 2E ) earlier to illustrate how to work with an ICC. Now we know how to calculate it.

## Slide 40
Classical Measurement Theory:
  observed value (O) = true value (T) + measurement error (E)
  If we assume E is random and normally distributed:
    E ~ N (0, 2E)
  Mean = 0
Fraction
error
-3
0
.02
.04
.06
Error
-2
-1
0
1
2
3
Distribution of measurement error
  Spread is characterized by variance = 2E
What is 2E estimating?
Notes: This is a slide from the beginning of this session that reminds us again what we are looking to estimate, sigma squared sub E, the variance of the random measurement error. Every participant in our dataset who has 2 or more measurements can provide us with an estimate of 2E by looking at each participant’s within-person variance across replicates. We then find the common (or mean) within-person variance.
If we assume that the differences between replicate and the mean value, in other words, the error term, within a given person is normally distributed, then the within-person variance we have calculated is the variance for the normal distribution shown. This is all just another way of saying that we assume that error is random and normally distributed.

## Slide 41: How different might two measurements be from random error alone?
Difference between any 2 replicates for same person = difference = measure1 - measure2
Variability in differences = 2diff (just a definition)
2diff = 2meas1 + 2meas2 (accept without proof)
2diff = 22meas1 (the variability of meas1 and meas2 are the same)
2meas1 is simply the variability in replicates. It is 2E
Therefore, 2diff = 22E
Because s2W estimates 2E, 2diff = 2s2W
In terms of standard deviation:
diff
Notes: Now let us finish the work that is needed to address the main question: How different might two measurements be from random error alone?
First, some simple math. For any 2 replicates performed on the same person, the difference between the 2 replicates is meas1 minus meas2. The variability of the differences between any 2 replicates is depicted as sigma squared subscript difference, in other words, the variance of the difference. This is just a definition. It turns out that we can estimate the variance of the difference (the difference between 2 replicates) if we know the variance of meas1 and the variance of meas2. The variance of the difference is simply the variance of meas1 plus the variance of meas2. We ask to accept this without proof.
Now, because these measurements are just repeat measurements of the same thing, we know that the variance of meas1 is equal to the variance of meas2. The variance of both measure 1 and measure 2 is, in fact, simply the common or mean variance looking across replicates. This is the same as the variance of the error term or sigma squared sub E, which we just calculated Therefore, the variance in the difference between any two replicates is just 2 times the variance of the error term.
To speak on the standard deviation scale (the native scale of the measurement), we need to take the square root of the variance of differences. When we do this, it boils down to the square root of two times s sub w. The square root of 2 is 1.41. Therefore, the standard deviation of the difference between two replicates is 1.41 times the within-person standard deviation.

## Slide 42: Distribution of Differences Between Two Replicates
If assume that differences between two replicates:
  are normally distributed and mean of differences is 0
   diff is the standard deviation of differences
Because of the properties of a normal distribution:
  For 95% of all pairs of measurements, absolute difference between the 2 measurements may be as much as (1.96)( diff) = (1.96)(1.41) sW = 2.77 sW
xdiff  0
 diff
(1.96)( diff)
Notes: Let us look graphically at the distribution of differences between two replicates of the same measurement on any given person.
Let us say we take many many pairs of measurements on someone. Let us say it is height.
If we assume that the distribution of differences between any two replicates for the same person is
- normally distributed;
- with a mean of zero; and
- some variance sigma,
  then we can say, because of the properties of a normal distribution, that the difference between two measurements on the same person is expected to be as much as 1.96 x standard deviation of the difference for 95% of all pairs of measurement. From the last slide, we know that the standard deviation of the difference is 1.41 x the within-person standard deviation. This collapses to 1.96 times 1.41 which is 2.77 times the within-person standard deviation. For 95% of all pairs of measurements, the absolute difference between the 2 measurements may be as much as (1.96)( diff) = (1.96)(1.41) sW = 2.77 sW

## Slide 43: 2.77 sw = Repeatability
For Peak Flow data:
For 95% of all pairs of measurements on the same person, the difference between 2 measurements can be as much as 2.77 sW = (2.77)(15.3) = 42.4 l/min
i.e., the difference between 2 replicates may be as much as 42.4 l/min just by random measurement error alone.
42.4 l/min termed (by Bland-Altman): “repeatability”, “repeatability coefficient”, “coefficient of repeatability, (CR)”
Notes: Thus, for the peak flow data, we already estimated that the common (or mean) within-person standard deviation was 15.3 l/min.
This means that for 95% of all pairs of measurements on the same participant, the difference between 2 measurements can be as much as 2.77sw = (2.77)(15.3) = 42.4 l/min. Said another way, the difference between 2 replicates may be as much as 42.4 l/min just by random measurement error alone. Bland and Altman refer to this specific derivative of the within-person deviation as the “repeatability” or “repeatability coefficient” or “coefficient of repeatability” (CR or COR) of the measurement. It is the most useful derivative of the within-person standard deviation and the most useful metric for the reproducibility of individual-level classification/characterization.

## Slide 44
Is 42.4 liters a lot (poor reproducibility) or a little (good reproducibility)?
A lot (poor reproducibility) - A
Not sure; ask a pulmonologist - C
A little (good reproducibility) - B
Interpreting Repeatability
For new Peak Flow meter:
For 95% of all pairs of measurements on the same person, the difference between 2 measurements can be as much as 42.4 l/min by random measurement error alone
Notes: 44
Thus, for this new peak flow meter, we know that for 95% of all pairs of measurements of the same person, the difference between the two measurements may be as much as 42.4 l/min by random error. Is this a lot or a little? Or, should we ask a pulmonologist (a lung doctor)? In other words, is this poor reproducibility or good reproducibility?

## Slide 45
Is 42.4 liters a lot (poor reproducibility) or a little (good reproducibility)?
A lot (poor reproducibility) - A
Not sure; ask a pulmonologist - C
A little (good reproducibility) - B
Interpreting Repeatability
For new Peak Flow meter:
For 95% of all pairs of measurements on the same person, the difference between 2 measurements can be as much as 42.4 l/min by random measurement error alone
Notes: 45
Unless you have a lot of subject matter knowledge about this system, then the best answer is to consult a subject matter expert, in this case a pulmonologist (a lung doctor).

## Slide 46: Interpreting “Repeatability”: Is 42.4 liters a lot or a little? Depends upon the context
If other gold standards exist that are more reproducible, and:
  differences < 42.4 are clinically relevant, then 42.4 is bad
  differences < 42.4 not clinically relevant, then 42.4 not bad
If no gold standards, probably unwise to consider differences as much as 42.4 to represent clinically important changes
  would be valuable to know “repeatability” for all clinical tests
Notes: How should we interpret 42.4 liters, the repeatability value? Is 42 l/min is a lot or a little? Why do we say to consult a subject matter expert, a pulmonologist?
This means that any two measurements on the same individual, taken immediately in succession, can differ by as much as 42 l/min just by random measurement error. Understanding if this is good or poor is dependent upon what else is known about the entity that is being measured. For clinical management, if you happen to have other gold standards available, which are more reproducible, then you should presumably know from prior research with these gold standards whether differences as large as 42.4 are clinically relevant, in other words do they represent a clinically meaningful difference? If such gold standards exist and you know that, say, a difference of 20 represents a clinically meaningful difference, then the repeatability of 42.4 for this new measurement device is not favorable (poor reproducibility). On the other hand, if you have a gold standard and you know that differences of as much as 42.4 l/min really are not associated with any clinical significance, then the 42.4 repeatability we derived for this new device is fine, it does not represent a problem.
What if no other gold standards exist? Then, given that the same person can have replicate measurements as far a part as 42.4 l/min just by random measurement alone, then it is clear that you should not necessarily consider any changes up to 42.4 using this measurement to be clinically relevant. A change of 42.4 might be clinically relevant but there is also an alternative explanation — random measurement error. In other words, you should be cautious about making any interventions based on changes up to 42.4 l/min.
That said, wouldn’t it be nice to have the repeatability value for every clinical lab test that is available. Right now, we get a “normal range” shown with lab values but “repeatability” would also be very useful. Someone in Laboratory Medicine should make this their career project.
Note: although a clinical example was used here, the same logic applies to individual-level characterization of any entity (e.g., scales used in social sciences).

## Slide 47
Aliu et al. Translational Oncology 2014
Notes: Here is an example using repeatability. In this case, healthy women underwent two measurements of their breast tissue by MRI. The radiologists, in particular, use this metric commonly. Note that the authors actually have the formula for CR slightly incorrect in the Statistical Analysis section. Instead of SDdiff, it should just be the within-person standard deviation. (A conversation with one of their authors confirms this error). This illustrates how easy it is — even for the experts — to make mistakes on this work, and, hence, how one needs to be on guard when reading papers.

## Slide 48: Note on Vocabulary
As a specific metric, several ways to calculate reproducibility. We favor:
  For Research
    ICC
  For Individual-level characterization
    Repeatability
    Coefficient of variation
  Best to reserve use of “repeatability” to specific metric
As a general term, ‘Reproducibility’ has many synonyms
  aka: reliability, repeatability, precision, variability, dependability, consistency, stability
Notes: Now that we have introduced another term — repeatability — let us put it into context by remembering the vocabulary.
The concept of reproducibility, as a general term, has many synonyms, such as reliability, repeatability, precision, variability, dependability, consistency, stability. Notice that repeatability is in this list.
When used in a specific sense, there are several ways to calculate reproducibility as we have now discussed. For research, we described the ICC. For individual-level characterization, we just calculated what we called repeatability. We think it is best to reserve use of the term repeatability to this specific meaning.

## Slide 49: Assumption: One Common Underlying sW
Estimating sw from these participants appropriate only if just one sW
i.e., sw does not vary across measurement range
Bland-Altman approach: plot within-person mean by standard deviation (or absolute difference)
mean sw
Notes: There is one other assumption we needed to make along the way with these repeatability calculations to have them be valid. That is, we assumed that there was just one within-person standard deviation that applied to all participants across the range of values of the measurement. We determined the common within-person standard deviation by taking a simple average of each individual participant’s within-person variance and then taking the square root to get the common (mean) standard deviation. It only makes sense to do this if there is indeed just one within-person standard deviation that exists and applies to everyone across the measurement range of the target population. In other words, it only makes sense if the within-person standard deviation does not vary across the range of measurements. To assess whether there is evidence for just one common underlying within-person standard deviation, we take the Bland-Altman approach of plotting the within-person standard deviation by the within-person mean.

## Slide 50
Common (or mean) within-person variance (s2W ~ 2E)
Common (or mean) within-person standard deviation (sw ~ E)
“s” when estimating from sample data
“” when referring to population parameter
s2W
If each participant not contributing the same concept to the pooled average, then no point in forming an average.
Notes: Recall that this is important because of the way we calculated the within-person standard deviation, which was that for each participant we calculated a within-person mean and ultimately a within-person variance. If each participant is not contributing the same concept to the pooled average, then there is no point in forming the average.

## Slide 51: Assumption: One Common Underlying sW
Estimating sw from individual persons appropriate only if just one sW
i.e., sw does not vary across measurement range
Does the within-person standard deviation vary across the range of data?
mean sw
Notes: Does the within-person standard deviation vary across the range of data in our peak flow example? We do not have a lot of data to use to evaluate this, but these data show no strong evidence that the within-person deviation is changing across the range of data. This assessment should just be made by visual inspection, in other words, the eyeball. Visual inspection can sometimes be aided by adding a smoothed trend, known as a LOWESS (Locally Weighted Scatterplot Smoothing) line to the plot. This smoothed line depicts the relationship between the within-person standard mean (on the x axis) and the within-person standard deviation on the y axis without forcing any preconceived shape of the relationship (such as a straight line). Creating a LOWESS plot is most easily performed in Stata using the menus:
Graphics\Smoothing and densities\Lowess smoothing
When in the dialogue box, the independent variable should be set to the variable holding within-person mean and the dependent variable set to the within-person standard deviation variable. The default bandwidth of 0.8 is typically sufficient, but it can be useful to experiment with varying bandwidths to make trend line less jagged.
You do not want to apply statistical testing to this plot in that small sample sizes might never show statistically significant differences. Similarly, very large sample size will make even small differences look significant; we do not want to do this either. When we simply manually inspect the plot, we conclude that we are in pretty good shape with this assumption for the peak flow data (i.e., no strong evidence that the within-person standard deviation is changing over the range of the data), and thus we can go ahead and calculate repeatability.
Note: to assess whether the within-person standard deviation varies over the range of data, have your eye start at the left of the plot (200 mean peak flow) and then move to the right. We are not looking at the spread of the within-person standard deviation (which does vary from left to right), but, instead, we are looking at the average value at each point on the x axis. Generally, the default is that the within-person standard deviation does not change across the range of data, and we have to be convinced otherwise to declare that there is meaningful difference. This is actually akin to the spirit of typical hypothesis testing. We will continue to accept the default (i.e., the null) unless there is strong evidence to the contrary.

## Slide 52: Another Interval Scale Example
Salivary cotinine in children
n = 20 participants measured twice
From Bland & Altman
Notes: Here is an example in which the within-person standard deviation does change over the range of data. To illustrate, let us look at another interval scale example, in which the concentration of cotinine, a metabolite of nicotine, was measured in the saliva of children to get an idea of their exposure to cigarettes (via second-hand smoking). These data are again from Bland and Altman.
The structure of the data is 20 children, each with two measurements.

## Slide 53: Cotinine: Within-person Standard Deviation vs. Mean
correlation = 0.62
p = 0.001
Appropriate to estimate mean sW?
Error proportional to value: A common scenario in biomedicine
Notes: This time when we plot the within-person standard deviation by the within-person mean value, we see a different pattern. What is it? Here, we see that the within-person standard deviation (from random measurement error) is proportional to the mean value. The error gets bigger as the mean value gets bigger. Although this was not the case with the peak flow data, this type of scenario is often seen with biomedical measurements. Given this scenario, is it appropriate to estimate the mean (common) within-person standard deviation? No, there is not one single underlying value. Hence, it is not appropriate to try to estimate a mean sW with the data in this form.
Note that statistical testing is shown (e.g., a p value), but it is not needed in order to conclude that the within-person standard deviation is changing as the mean cotinine value increases.
With these data, macroscopic visual inspection is all that is needed to see that the within-person standard deviation is proportional the mean value. Drawing a LOWESS line is likely not needed to see this, but if desired it can be generated in Stata using the menus:
Graphics\Smoothing and densities\Lowess smoothing
When in the dialogue box, the independent variable should be set to the variable holding within-person mean and the dependent variable set to the within-person standard deviation variable. The default bandwidth of 0.8 is typically sufficient, but it can be useful to experiment with varying bandwidths to make trend line less jagged.

## Slide 54: Solution: Perform Log10 Transformation and Work on the Multiplicative (Ratio) Scale
Within-person standard deviation
Within-person mean cotinine
-1
-.5
0
.5
1
0
.2
.4
.6
correlation = 0.07 p=0.7
mean sw
Replotted, now on log10 scale
See Extra Slides for the math and interpretation
Notes: When this patten occurs, the solution is to log10 transform the cotinine variable. In other words, work on the multiplicative (also known as ratio) scale. When we work with log transformed data and plot the within-person standard deviation versus the mean, we see the following figure. Now, we no longer have a relationship between the within-person standard deviation and the mean. To satisfy any disbelievers, one can perform a correlation on this scatterplot and see that there is no evidence of an association (although, as mentioned on the prior slide, we do not need to do this to form our conclusion). As we move across the range of measurement, there is no strong evidence that the within-person standard deviation is changing. Note that the variability of the estimate (the spread on either side of the mean line we have drawn) could be changing but that is not the issue; we are looking at the central tendency of the within-person standard deviation across the range of the mean cotinine values.
Therefore, now, it is reasonable to use each of the participant’s within-person standard deviation as an estimate of the overall within-person standard deviation. However, we need to be sure we continue to work on the log10 scale, which is a multiplicative rather than additive scale.

## Slide 55: Coefficient of Variation (“CV”)
Another approach to expressing reproducibility for individual person-level characterization if sw is proportional to value of measurement (e.g., cotinine data)
Depicts error in context of overall magnitude of measurement
Calculations found in S & N text and in Extra Slides
For completeness, another solution when sw is proportional to mean::
Popular among lab scientists
Hard to interpret, other than we want it low
We often back calculate it to ‘repeatability’
Notes: For completeness, we will also describe another approach that can be used to express reproducibility when we have data in which the within-person standard deviation is proportional to the mean. This is an entity called the coefficient of variation, abbreviated as CV. The CV depicts within-person error in the context of the overall magnitude of the measurement. The CV is the average within-person standard deviation divided by the within-person mean.
The calculation is straightforward. You first calculate a within-person standard deviation for each person and then calculate the mean. Then you form the ratio of the within-person standard deviation to the mean. Then, you form the average across participants. The details can be found in the S and N text as well as the Additional Slides for this lecture.
Historically, the CV is a metric that has been popular among lab scientists. We, however, believe it is hard to interpret because it is not on the original scale of the native measurement. All we know is that we want the CV to be low. In fact, we often find ourselves trying to use it to back calculate to the more useful ‘repeatability’ metric. Nonetheless, we mention it because you will see it in the literature when describing reproducibility.
-----------------
Additional note: By saying that the within-person standard deviation is proportional to the value of the measurement, we are saying that the within-person standard deviation is equal to K times the within-person mean value. K is the coefficient of variation. In other words, K is the within-person standard deviation divided by the within-person mean.

## Slide 56
Notes: This table summarizes the indices that are useful in quantifying reproducibility. It is organized by purpose and the pattern of the within-person variability across the range of data.
When the purpose is to evaluate whether the reproducibility of a measurement is suitable “as is” for research vs whether more tightening of the measurement’s reproducibility is warranted, we described the intraclass correlation coefficient, ICC. It can be used regardless of the pattern of the within-person standard deviation over the range of the measurement.
When the purpose is looking at individual measurements in individual persons (i.e., individual-level characterization) and when the within-person variability is constant across the range of data, as it was in the peak flow data, repeatability is the most useful index. If the within-person variability is proportional to the magnitude of the measurement, as it was with the cotinine data, repeatability is the metric to use, but you need to work with the data on the log, or ratio, scale. A coefficient of variation is also acceptable here, although we think it is less useful.
We did not directly discuss this but when your data does not behave according to any of these patterns, meaning the within-person variability is neither constant nor proportional to the mean value throughout the range of mean values, you have a more complicated analysis. This is fortunately not common. If it does occur, one of the things you can do is to break up the range of data into smaller pieces in which the within-person standard deviation is either constant or proportional to the mean. Then, in each of these segments you can report the repeatability. You will end up with a family of such indices.

## Slide 57: Understanding Measurement: Aspects of Reproducibility and Validity
Reproducibility vs validity of measurements
Focus on reproducibility: Impact of imperfect reproducibility on precision & validity of study inferences
Quantifying reproducibility of interval scale measurements
  Depends upon purpose
    Research
      intraclass correlation coefficient
    Individual-level use
      within-person standard deviation and repeatability
      coefficient of variation
Improving reproducibility
(Problem set: estimating validity of measurements)
Notes: Now that we have described how to estimate reproducibility, we will end with a discussion of how to improve reproducibility.

## Slide 58: How to Increase Power?
Assume for skin fold thickness have a SD of 1.5 and ICC, in your population, is 0.7
What should you do to increase power?
Increase persons in each group - A
More standardization of outcome measurement - E
Make multiple measurements/person - C
Increase effect size - B
Find more homogeneous persons in each group - D
Evaluation of skin fold thickness in 2 diet groups
Effect size = 0.4 units
Plan: 100 persons in each group
Alpha = 0.05
Standard deviation (SD) of skin fold thickness (O)
Notes: 58
Let us start by looking back at the example we gave earlier where we were evaluating skin fold thickness, the outcome variable, in 2 groups. Let us say this is a randomized experiment in which we are comparing two diets for their effects on skin fold thickness. We plan initially to study 100 participants in each group and our desired effect size that we wish to detect is 0.4 units. If we set alpha (the type I error) at 0.05, this plot shows the relationship between the standard deviation of skin fold thickness in the study population and statistical power — if we study 100 persons in each group. Let us say that we have a standard deviation of 1.5 in our measurement of skin fold thickness and the ICC, in our population, is 0.7. This translates to statistical power of just above 50% for an effect size of 0.4, which to most observers is vastly insufficient. What should you do to increase statistical power?

## Slide 59: How to Increase Power?
Assume you have a SD of 1.5 and ICC is 0.7
What should you do to increase power?
Increase persons in each group - A
More standardization of outcome measurement - E
Make multiple measurements/person - C
Increase effect size - B
Find more homogeneous persons in each group - D
Both C and E work by improving reproducibility
Standard deviation (SD) of skin fold thickness (O)
All answers are technically correct, but some are more efficient/elegant than others.
Notes: 59
All of these answers are technically correct, but some are more efficient and elegant than others. While you COULD try any of answers A to E, the most cost-efficient answers are C, which is to make multiple measurements per person, and E, which is further standardize the measurement, skin fold thickness, in an attempt to improve reproducibility. Increasing the number of participants is acceptable in that increasing participants virtually always increases power, but this is not cheap or easy. Increasing the effect size is also a guaranteed way to increase power but not a very smart one. Limiting yourself to just be able to detect large effects may result in a very wasteful study that has lower power to detect smaller but nonetheless clinically relevant effects. Finding more homogeneous participants would work, but it may not be easy or desirable for later purposes of external validity.

## Slide 60: For any given sample size, effect size, and alpha, to increase power, need to decrease one or both of the components of 2O
2O = 2T + 2E
Standard deviation (SD) of skin fold thickness (O)
Decreasing 2T requires finding a more homogeneous population
  Often not easy
  Diminishes generalizability
ICC tells us whether it is worthwhile to try to decrease 2E
Notes: 60
How do answers C and E increase reproducibility and enhance power? To better understand this, as a review, remember that the total observed variance (which is standard deviation squared) is equal to the sum of the true between-person variance and the within-person variance (or random measurement error). For any given sample size, effect size, and alpha, to increase power, one needs to decrease one or both of the components of 2O.
Decreasing 2T requires finding a more homogeneous population. This may not be easy in practice. It also diminishes generalizability.
The ICC is the key metric to look at. It tells us whether it is worthwhile to try to decrease 2E.

## Slide 61
ICC
0.5 0.6 0.7 0.8 0.9 1.0
N = 25 per group N = 50 per group N= 100 per group
Effect of ICC on Sample Size
2 group study
Continuous outcome variable
Perkins et al. Biol. Psych. 2000
Rule of thumb: Moving from 0.7 to 0.9 reduces sample size by 22%
Less is gained by attempting to improve ICC >0.9
Notes: Looked at in terms of impact of ICC on sample size, we see this plot. For any fixed effect size, power and alpha error, you will need fewer participants with higher ICCs. For example, a study that used 100 participants per group with a measurement with an ICC of 1.0 would require 143 persons if the ICC was 0.7. Moving from 0.7 to 1.0 could result in not needing 43 participants in each group. Rule of thumb: moving from 0.7 to 0.9 reduces sample size needs by 22%. And, less is gained when attempting to improve upon an ICC of 0.9 or greater.

## Slide 62: Improving Reproducibility (i.e., Increasing ICC)
Standardize performance of the measurement
  Perform it same way each time
  Determine sources of random error
    Think through the steps
Notes: So, how do we improve reproducibility, in other words, decrease the within-person variance? Often, the cheapest and easiest thing to do first is to standardize the performance of the measurement. This means to ensure that it is performed the same way each time. The process starts with determining the sources of random error, which means thinking through the steps of how the measurement is made.

## Slide 63: Determine Sources of Random Error: What contributes to 2E ?
The observer (the person who performs the measurement)
    within-observer (intrarater)
    between-observer (interrater)
The instrument (if there is one)
    within-instrument
    between-instrument
Importance of each varies by measurement and by study
Notes: For any measurement, think about the sources of error. Any measurement may have a human involved in performing it, whom we call the observer or operator. In addition, there may be some sort of technology involved, such as a machine, which we call the instrument.
In terms of the observer, the person making the measurement, there may be variability within a given observer and or, if more than one person is making the measurements, then there may be variability between observers (i.e., different persons assigned to different participants). We call these within-observer (intrarater) and between-observer (interrater) variability.
Many measurements, like biological measurements, require an instrument. Here, too, we may see within-instrument and between-instrument variability.
The importance of each of these varies by measurement and by study. Let us say the measurement is an analyte in blood. If you have several different field staff drawing blood and this blood is being tested with several different instruments, then you have the opportunity to have all four of the aspects of variability we mentioned above. On the other hand, if your measurement is being performed by just one observer — say an interview — and does not require an instrument, then you would only have to contend with within-observer variability.

## Slide 64: Sources of Random Measurement Error
e.g., plasma HIV RNA level (amount of HIV in blood)
  observer: measurement-to-measurement differences in blood tube filling (diluent mix), shaking/mixing of tube; temperature in transit; time before lab processing
  instrument: run-to-run differences in reagent concentration, PCR cycle times, enzymatic efficiency
Each of these can be standardized to reduce variability
Notes: An example from the field of HIV research is the measurement of HIV, the virus, in blood. This is known as plasma HIV viral load. There are more steps in the process than you might realize.
On the observer side, there may be differences from measurement to measurement in how much blood is put in the blood-holding (vacutainer) tube and thus the degree of dilution that occurs after mixing with the diluent. There may also be measurement to measurement differences in how long the tube sits at room temperature before processing. Sitting at room temperature allows for cell-associated virus to leach out and contaminate the plasma. It may also cause degradation of plasma HIV RNA. These differences may occur within each observer, and, if there are multiple observers, then differences may occur between observers.
On the instrument side, the plasma now has to go through a series of processing steps and then through polymerase chain reaction where it encounters variability in the form of reagent concentration, enzymatic efficiency, cycle times, and temperature.
If we add all of these up, the variability could become large. However, each of these can be standardized to reduce variability.

## Slide 65: Improving Reproducibility
Standardize performance of the measurement
  Perform it same way each time
  Determine sources of random error
    Think through the steps
  Training and Standard Operating Procedures (SOPs)
    Not a bureaucratic hassle; instead, an important tool
  Automation
    Machines less apt to make random errors than humans
Notes: The solution to performing something the same way each time is training of research staff and creation of standard operating procedures, known as SOPs. These are often dreaded words in research because they often denote some form of bureaucracy. Instead, it is important to inform everyone on the research team about why these SOPs are important, which is to improve reproducibility. Finally, automation — use of machines — will improve reproducibility, because machines typically make random errors less often than humans.

## Slide 66: Improving Reproducibility
Standardize performance of the measurement
  Perform it same way each time
  Determine sources of random error
    Think through the steps
  Training and Standard Operating Procedures (SOPs)
    Not a bureaucratic hassle; instead, an important tool
  Automation
    Machines less apt to make random errors than humans
Perform replicates and use the mean value as “final”
Notes: Besides standardization, the other approach to improve reproducibility is to perform replicate measurements. Recall the term replicate when we discussed the target diagrams. We referred to making multiple measurements of a given entity on the same person. Each attempt is called a replicate.

## Slide 67
If just one replicate used as final value per person
Poor reproducibility
Good Reproducibility
Taking the average of replicates of a measurement with poor reproducibility increases reproducibility
If mean of several replicates used as final value
Notes: Why does taking multiple measurements per participant work to increase reproducibility? We re-inserted this slide with the targets to graphically illustrate the point. If you have a measurement with intrinsically poor reproducibility and you took just one replicate measurement on each participant as his/her final value, this is what the measurement would look like on the left. Instead, if for each person you took the mean of several replicates, you would have the picture on the right. As long as the error is random, taking several measurements will, on average, result in a value that is closer to the truth than any single value. A collection of these means of replicates will be closer together than a collection of single measurements. In this way, taking the mean of two or more replicates and using it as the “final” answer decreases within-person error.

## Slide 68
Number of replicates
ICC
Perkins et al. Biol. Psych. 2000
How many replicates are needed?
Spearman-Brown formula
Assume that ICC for 1 determination (i.e., without averaging of replicates) =
Greatest yield is for 1 or 2 additional replicates
Then begins to level off, unless you started very low
Notes: How many replicates does it take to improve reproducibility? The answer comes from what is known as the Spearman-Brown formula, but we will not take the time to derive it. The answer depends in part upon where you start in terms of ICC. If we focus on a measurement with an ICC of 0.7 (when you just used one value; i.e., no averaging of values), you can bring this up to an ICC of 0.8 by taking 2 replicates and used the mean of the two as the “final” value. This is the line with the square symbol. You will need 4 replicates to get it to 0.9. This illustrates that the greatest gain in ICC comes with 1 or 2 additional replicates.

## Slide 69: To increase power: More participants or better measurements?
Depending upon the ICC and cost per test, performing more replicates often more cost-effective than adding more participants
Remember: each new participant requires the full suite of measurements to be performed, even the fully reproducible ones.
  Instead, keep number of participants fixed and make replicates where needed
See Extra Slides for simulation study
Notes: It is often the case that performing more replicates is more cost-effective than adding more participants. Most investigators will instinctively grab for more participants, but it is often more efficient to perform more replicates on the existing participants.
Remember, when you add more participants, you need to make all of the measurements even the ones that are fully reproducible. Instead, consider the efficiency when you keep the number of participants fixed and make replicates where needed on the measurements which would benefit from them.
The Extra Slides show a simulation study which illustrates this point.

## Slide 70: Practical Implications for Research
Understand your measurements
Planning research
  Do your measurements need improvement?
    SOPs; more automation; replicate measurements
  Is it feasible for them to be improved?
  Describe reproducibility and validity in grant proposals
Presenting research
  Describe reproducibility & validity of key measurements in Methods section
Notes: In closing, what does all of this mean for you in terms of practical implications for research?.
The main message is that you need to understand the reproducibility and validity of your measurements. In terms of planning research, how this starts is asking whether the available measurements meet some bare minimum adequacy. Between this week’s material and next week’s material, hopefully you will be become to spot an inadequate measurement when you see one. If a measurement is useable, does it need improvement in terms of improved reproducibility? We gauge this by evaluating the ICC. We talked about the ways we can improve reproducibility which are the use of SOPs, more machine automation (typically more reproducible than humans); and the use of replicate measurements. Of course, if measurements need improvement, is it feasible to actually do so? Finally, the most scrutinizing reviewers will expect you to describe the reproducibility and validity of your measurements in grant proposals.
When presenting completed research, there is not much you can do after the work is done to improve measurements, but you should consider describing the reproducibility and validity of key measurements in the Methods sections.
Lastly, the proliferation of “found” data has likely resulted in increasing lack of knowledge regarding the basic aspects of measurement reproducibility and validity. Found data refers to data collected for other reasons (e.g., electronic medical records or social media) but which is then used in various human-based health-related research. Because found data are free and prospectively-collected data are expensive, the use of found data is growing. Found data, however, must often be used “as is”. There is often nothing that can be done to improve reproducibility or validity. With no recourse but to use the found data “as is”, there is likely less need for many researchers to ever learn some of the basic aspects of measurement. This is unfortunate because when these researchers do encounter a moment of prospective data collection which would benefit from foundational knowledge of measurement, they are sometimes not equipped to make important decisions.

## Slide 71: Summary
Characteristics of a measurement: Reproducibility vs validity
Measurement reproducibility has key role in influencing precision and validity of inferences in our different study designs
Quantifying reproducibility depends upon scale and purpose
  Interval scale
    For research purposes, use ICC (but it is population-dependent)
    For individual-level use, calculate “repeatability” (or CV)
  (For categorical scale measurements, use Kappa)
Improving reproducibility can be done by finding/reducing sources of error, SOPs, automation and by multiple measurements (replicates)
Assessment of validity depends upon whether or not gold standards are present, and can be a challenge when they are absent
Notes: Our goal in this session was to describe two basic characteristics of a measurement, reproducibility and validity. We need these in order to talk about measurements. Next session we will discuss how different aspects of the reproducibility and validity of a measurement contribute to measurement bias in downstream inferences which use the measurements.
We have spent most of the session on reproducibility, especially showing its impact on the precision of down the line study inferences. We have also mentioned the effect of reproducibility on study validity, and we will do more of this next week.
When estimating reproducibility (i.e., choosing the metric), we need to keep in the mind our purpose and measurement scale. We only discussed interval scale measurements today. When asking the question in research whether your measurement is suitable or it needs more work in improving reproducibility, we talked about the intraclass correlation coefficient. When you need to understand reproducibility for individual-level characterization, use repeatability, as described by Bland and Altman. A coefficient of variation can be useful in some situations. There is no role for the Pearson correlation coefficient.
Improving reproducibility starts by finding and reducing the sources of error. Use SOPs and increase machine automation. If you cannot make standardization improvements, then taking multiple measurements (i.e., replicates) will improve reproducibility.
We did not discuss categorical scale measurements today, but those of you taking the Clinical Epidemiology course (EPI 204) already learned about this in the form of Kappa.
Finally, although we have not had time to discuss this in class, the assessment of validity starts with whether gold standards are present or not. If some empirical criterion is available, the methods of assessment very closely follow the pattern we used for assessing reproducibility. You will have a chance to practice in the homework this week. When gold standards are absent, as they often are in the social sciences, assessment of validity is more challenging.

## Slide 72: Notes on Problem Set
Several short methods articles in Recommended Reading
  These explain the concepts better than any textbook
  Gives you practice reading methodologic articles
  Reminds us that methods are evolving
Be sure to distinguish between 3 discrete tasks/purposes, which are the determination and interpretation of:
  Reproducibility of a measurement
  Agreement between methods of measurement (“Method agreement”)
  Validity of a measurement (comparison to a gold standard)
All 3 tasks have much in common numerically but have different goals & slightly different mathematical techniques
Notes: A few notes on the Problem Set for this week. There are several short methodological articles in the Recommended Reading that you will need to read in order to complete the problems. We are asking you to read these because they cover the concepts better than any textbook that we are aware of. And, reading these will give you some practice reading methodologic literature. This is something you will need to do during your career; teaching yourself new methods is an important skill. It also reminds us that methods are evolving, and the evolution is done initially through the scientific literature, not through textbooks.
These articles cover three basic tasks/concepts which are sometimes easy to get confused. They are:
Determination of the reproducibility of a measurement. This is largely what we covered today in class.
Agreement between two or more methods of measurement, when none is considered the gold standard. This is called “method agreement”.
and
Validity of a measurement, which involves comparison of one measurement to a gold standard.
All 3 of these have much in common, but they do have different goals and slightly different mathematical techniques. It is important when doing the problems to stay focused on which task you seek to perform.

## Slide 73: Additional Material Slides

## Slide 74: Estimating Repeatability for Cotinine Data Logarithmic (base 10) Transformation
Notes: These data represent log10 transformation for the aforementioned salivary cotinine analysis. We can overcome the problem of dependence of within-person standard deviation on the underlying value by working on the multiplicative scale (i.e., the log scale). To do this, what one does is simply obtain the log base 10 of both the results of trial 1 and trial 2 and work with these numbers. Remember that a 1 unit difference on the log10 scale is a 10-fold ratio.

## Slide 75: sw for log-transformed cotinine data
sw
because this is on the log scale, it refers to a multiplicative factor and hence is known as the geometric within-person standard deviation
it describes variability of replicates in ratio terms (rather than absolute numbers)
Notes: Working with the data in their log-transformed state, we do with it exactly what we did originally with the peak flow data on its native scale. We can estimate the common within-person standard deviation, either by working through the numbers directly or by using an ANOVA table, and it is 0.175.
However, remember that this is on the log 10 scale where every unit is a factor of 10, not 10 more units but 10 times the prior unit. Hence, this is known as a geometric within-person standard deviation.
Hence, in the prior examples, we described variability and variances and standard deviations of the replicates (and repeatability) in terms of absolute differences. A geometric within-person standard deviation describes the variability of the replicates in terms of ratios (or factors).

## Slide 76: “Repeatability” of Cotinine Measurement
The difference between 2 measurements for the same person is expected to be less than a factor of (1.96)(sdiff) = (1.96)(1.41)sw = 2.77sw for 95% of all pairs of measurements
For cotinine data, sw= 0.175 log10, therefore:
  2.77*0.175 = 0.48 log10
  back-transforming, antilog(0.48) = 10 0.48 = 3.1
For 95% of all pairs of measurements, the ratio between the measurements may be as much as 3.1-fold
Notes: Just as we did with the peak flow data, we can also estimate the repeatability of the cotinine measurement.
Remember from the peak flow data that the difference between 2 measurements for the same person is expected to be within 1.96 times the standard deviation of the difference for 95% of all pairs of measurements. And, remember that the standard deviation of the difference between 2 measurements is the square root of two times the within-person standard deviation. 1.96 times 1.41 is 2.77 and so this boils down to 2.77 times the within-person standard deviation.
For the cotinine data, the within-person standard deviation is 0.175 log10 units. Therefore, 2.77 times 0.175 is 0.48 log10 units. Back transforming, this is 10 to .48 power or 3.1.
In words, this means that for 95% of all pairs of measurements, the ratio between the measurements may be as much as 3.1-fold just by random measurement error.

## Slide 77: Cotinine: Within-person Standard Deviation vs. Mean
correlation = 0.62
p = 0.001
Coefficient of variation quantifies the proportion
Error proportional to value:
A common scenario in biomedicine
Notes: The metric called the coefficient of variation can also be used when the within-person standard deviation varies according to the range of the data. The cotinine data is one such situation. The CV quantifies the ratio of the within-person standard deviation to the within-person mean. We do not find the CV as interpretable as repeatability because repeatability maintains the original scale of the measurement. In this example, repeatability reads that any two measurements may differ by as much as 3.1-fold while CV is 0.36.

## Slide 78: Coefficient of Variation (CV)
Another approach to expressing reproducibility if sw is proportional to the value of measurement (e.g., as seen in cotinine data)
If sw is proportional to the value of the measurement:
sw = (k)(within-person mean)
k = coefficient of variation
Notes: By stating that the within-person standard deviation is “proportional” to the value of the measurement, we are saying that the within-person standard deviation is equal to K times the within-person mean value. K is the coefficient of variation. In other words, K is the within-person standard deviation divided by the within-person mean.

## Slide 79: Calculating Coefficient of Variation (CV)
At any level of cotinine, the within-person standard deviation due to measurement error is 36% of the value
Notes: We determine the coefficient of variation using the same logic we used to determine the mean within-person standard deviation. We first calculate the CV in each person, as shown in each row here. We then take the simple average. In this case the CV is 0.36. We would say that at any level of cotinine (any value of cotinine), the within-person standard deviation due to measurement error is 36% of the value.

## Slide 80: Coefficient of Variation for Peak Flow Data
When the within-person standard deviation is not proportional to the mean value, as in the Peak Flow data, then there is not a constant ratio between the within-person standard deviation and the mean.
Therefore, there is not one common CV
Estimating the “average” coefficient of variation (within-person sd/overall mean) is not meaningful
Notes: What is the coefficient of variation for the peak flow data?
Recall that the within-person standard deviation was not proportional to the mean level for the peak flow data; in fact, the standard deviation was constant throughout the range of data.
Therefore, there is not one ratio between sw and the mean, and therefore there is not one coefficient of variation.
You could still attempt to calculate a coefficient of variation for the peak flow data, but this does not give you anything meaningful. This is often done in practice or investigators do not mention whether the within-person standard deviation is constant throughout the range of data. This omission contributes to the difficulty in interpreting a CV value.

## Slide 81: Pearson Correlation: One Metric Not to Use!
Don’t use simple (Pearson) correlation for quantitation of reproducibility
Historically, most common approach to reproducibility in literature and still in use, but least useful for variety of reasons
Notes: There is one metric not to use when quantifying reproducibility, and that is the Pearson correlation coefficient (i.e., simple correlation). We mention it because it has been, unfortunately, the most commonly used metric to express reproducibility.

## Slide 82: Don’t Use Simple (Pearson) Correlation for Assessment of Reproducibility
Too sensitive to range of data
  Correlation is always higher for greater range of data
Depends upon ordering of data
  get different value depending upon classification of meas 1 vs 2
Importantly: It measures linear association only
  it would be amazing if the replicates weren’t related
  association is not the relevant issue; numerical agreement is
Most common approach but least meaningful
Notes: You can read more about reasons not to use the Pearson correlation coefficient as a metric for reproducibility in the Recommended Reading. These are briefly mentioned here:
First, the Pearson correlation coefficient is sensitive the range of data. It is always higher for a greater range of data. This is not a favorable trait for a metric purporting to quantify reproducibility.
Second, strangely, the correlation coefficient depends upon the ordering of the data. You can get different values depending upon whether you call a replicate measure 1 or measure 2.
Third, and perhaps most important, let us think a moment about what the correlation coefficient is actually saying in the context of reproducibility. It is a measure of how the two replicates are associated and, in particular, how they are linearly associated. But is this really what we want? No, what we want is to see how closely they agree with each other and if this sufficient for our clinical and research purposes. Association is not the relevant issue. Closeness in numerical agreement is the relevant issue. When measuring reproducibility, we know that the replicate measurements were done with the same process. We would be shocked if the two measurements were not associated!
Finally, a correlation coefficient does not express reproducibility in the same scale as the measurement is made. (Remember, this was also a complaint we had about the CV.) It does not therefore tell us the magnitude of reproducibility in substantive terms. For the peak flow data, what does rho = 0.7 vs 0.8 vs 0.9 mean in the context of peak flow measurement which ranges from 200 to 600? This is especially problematic when the context is individual person-level characterization. We would always prefer to be working on the original scale of the measurement.

## Slide 83
Effect of ICC on Power
2 groups of 100
Continuous outcome variable
Perkins et al. Biol. Psych. 2000
Effect Size
ICC
Notes: This is another plot of the influence of ICC on statistical power. For a given effect size, power increases with an increase of ICC. Let us say we have our 2-group study and 100 participants per group. On the X axis is power and effect size is on the Y axis. The 4 lines shows 4 different scenarios for the ICC of the skin fold thickness measurement (which is the outcome of the study). If we focus on the 4 points in the red oval, as we move from an ICC of 0.5 to 1.0, power moves from 50% to about 80%. Earlier, we discussed how to increase ICC.

## Slide 84
Depending upon the ICC, performing more replicates often more cost-effective than adding more persons
Notes: The next several slides describe how depending upon the ICC, performing more replicates can be more cost-effective than adding more participants in order to gain statistical power.

## Slide 85
Simulation study (N=1000 runs) looking at the association of a given exposure and a certain disease.
Truth is an odds ratio= 1.6
R= reproducibility of exposure measurement = ICC
Metric: probability of estimating an odds ratio within 15% of 1.6
Phillips and Smith, J Clin Epi 1993
R = 0.5
R = 0.6
R = 0.8
Probability of obtaining an odds ratio within 15% of truth
R = 1.0
Notes: These authors performed a simulation study in which they were looking at whether a given exposure was associated with a certain disease. A simulation study means no real data but instead the investigators make up a population on a computer with a specific structure and specific relationship between exposure and outcome. They then they take samples of the population as if they were doing an actual study. They created the population such that the odds ratio for disease was 1.6 (i.e., every unit increase in the exposure is associated with 1.6 greater odds to develop the disease). They then looked at the influence of reproducibility, which they call R, in the measurement of the exposure and which they varied from 0.5 (50%) to 1.0 (100%). They then performed 1000 simulations of the study, which means they had the computer create 1000 different samples of persons of given sample size (shown here as No. of participants). What they evaluated as their metric was the percentage of times the 1000 different study samples were able to detect an odds ratio within 15% of 1.6. In their base-case scenario, they started with a sample size of 5000 participants, assumed that 500 people developed the outcome in question (the number of events), and there was only one measurement of the exposure variable on each participant. With this sample size, when the measurement of the exposure had 100% reproducibility, nearly all of 1000 simulations detected an odds ratio within 15% of 1.6. However, as reproducibility fell, the chances of the study simulations detecting an odds ratio within 15% of 1.6 fell dramatically. Note that at 50% reproducibility, a study had only about a 30% chance of detecting an odds ratio 15% within 1.6.

## Slide 86
R = 0.5
R = 0.6
R = 0.8
Probability of obtaining an odds ratio within 15% of truth
R = 1.0
Impact of taking 2 or more replicates and using the mean of the replicates as the final measurement
Phillips and Smith, J Clin Epi 1993
Notes: The authors go on to show, which is actually the main point of their paper, that when reproducibility is low (when considering just one measurement per participant), you would actually do better to take more repeated measurements on fewer people and use the mean of the replicates as the final measurement for each person. Look what happens when they are focusing on a reproducibility of 0.5. When the sample size is halved but two measurements of the exposure are taken for each person and you take the mean of the two measurements as that person’s final value, the ability of the study design to be within 15% of the truth value is increased substantially. This may seem counterintuitive to some because many people have been taught solely to increase sample size to overcome noisy variables. In fact, in many cases, you would do better to spend your money in tightening up the reproducibility of your measurements or by taking more than one measurement per person and then take a mean as the final value.

## Slide 87: Understanding Measurement: Aspects of Reproducibility and Validity
Reproducibility vs validity of measurements
Focus on reproducibility: Impact of reproducibility on validity & precision of study inferences
Quantifying reproducibility of interval scale measurements
  Depends upon purpose
    Research
      intraclass correlation coefficient
    Individual use
      within-person standard deviation and repeatability
      coefficient of variation
Improving reproducibility
(Estimating validity of measurements – see Extra Slides/Problem Set)
Notes: We will have the opportunity to cover the estimation of validity of measurements in the Problem Set for this week.

## Slide 88: Assessing and Estimating Validity
Concurrent Gold Standards Available
This is the typical situation with the measurement of biological or physical traits, conditions, diseases
Formally, the assessment is of criterion validity (aka empirical validity), but it is almost never called this by practitioners.
  Interval scale measurement: 95% limits of agreement
  Categorical scale measurement: sensitivity & specificity
No Concurrent Gold Standards Available (realm of social science)
Content validation
Construct validation
Criterion validation (sometimes possible)
  Predictive validation (gold standards only available in the future)
formulaic
No formulae; much harder
See Streiner et al. Chapter 10 (Validity)
Notes: Validity is about whether a measurement measures when it purports to measure. When estimating validity, the first order of business is determining whether there is a concurrent gold standard available for the entity under study. A concurrent gold standard refers to the presence of a test/measurement which can be said to definitive for the entity under study. Having a concurrent gold standard is the typical situation with the measurement of biological or physical traits, conditions, diseases. Formally, when validity is assessed with a concurrent gold standard, it is an assessment of “concurrent criterion validity” (aka empirical validity). This is because validity is measured in direct comparison to some established concurrent measurement. However, you will almost never hear the term criterion validation in this context. This is because physical and biological scientists are rarely taught about the distinctions of validation. If concurrent gold standards are present, the process of validation depends upon the nature of the measurement. Which formula to use depends upon the nature of the measurement, interval scale or categorical scale. Because there are formulae, the process is relatively straightforward. In the problem set, we will practice the estimation of 95% limits of agreement as a measure of validity of interval scale measurements. For categorical scale measurement, we use metrics such as sensitivity and specificity. This is covered extensively in our EPI 204 course.
If concurrent gold standards are not present, then things get more subjective and more challenging. The process typically takes much longer than if a concurrent gold standard is present. This gets at why you may have been wondering why we are reading from a textbook on health measurement scales (Streiner et al.). We are asking you to do this reading for several reasons. First, to show you that there are many scientists who give the field of measurement very serious thinking. When you want to really understand measurement consult with a social scientist because the nature of the measurements in this field has made social scientists grapple with these issues on a daily basis. The second reason is that scientists in biomedicine are not as removed from some of the problems of social scientists as they might think. For example, there are many entities that are included regularly in biomedical studies like depression and quality of life that are not immediately measurable with a machine and for which no gold standards exist. It is for this reason we want to make sure everyone is familiar with the terminology. The Streiner et al. chapter on validity (chapter 10) is a concise description of how validation can be assessed when concurrent gold standards are not present. We will not cover this subject in depth this course, but we wanted to at least provide this outline. When gold standards are not present, we must look at what are called content validation, construct validation, and, sometimes, predictive criterion validation. These are known as the “3 C’s” of validation.

## Slide 89: Estimating Validity of Interval Scale Measurements - When Gold Standards are Present
Just as we did when evaluating reproducibility in the context of individual participant-level characterization:
  Examine Bland-Altman plots of within-person differences (new minus gold standard) by the gold standard value
Determine mean within-person difference (“bias”)
Determine range of within-person differences — aka “95% limits of agreement”
Practice in Problem Set
Notes: A few details on the estimation of validity of an interval scale measurement when gold standards are present. The first thing to do is just the same as we did when evaluating reproducibility in the context of individual person-level characterization. That is, we plot the within-person differences (new measurement minus gold standard) on the Y axis against a single value on the X axis. In this case, use the gold standard value on the X axis. (Using the gold standard on X axis was not part of the original advice of Bland-Altman; it is based on methodologic development later.) We then calculate the mean within-person difference, which is known as “bias”. We lastly determine the 95% limits of agreement.
The approaches to estimating reproducibility and validity are so similar it is sometimes easy to get to lost in the details. The important thing is to focus on the task: reproducibility, method agreement, or validity (comparison vs gold standard).

## Slide 90: Within-person Biologic Variability
Although not the fault of the measurement process, short-term within-person biological variability can have the same effect as errors in the measurement process
Recall that:
  observed value (O) = true value (T) + measurement error (E)
Assume, for biological variables with intrinsic variability
  True value = the average of measurements taken over time
E is difference in any one value from the average value
Biologic variability increases the variability in the error term and increases overall variability:
2O = 2T + 2E
Notes: Although not the fault of the measurement process, short-term within-person biological variability has the same effect as random errors in the measurement process. Recall that any observed measurement is the sum of the true value plus the measurement error. If in a given person the actual entity being measured changes from moment to moment (or day-to-day), say like blood pressure, we consider that the true value for this person is the average of many measurements. Because our error term is always taken in reference to truth, the error is the difference in any one value from the average value. The presence of lots of biologic variability will increase the variability of the error term and thus increase overall variability in a group of participants because as you recall, sigma squared observed for a group = sigma squared of the true values and sigma squared of the error term.
Stated another way, even if a measurement truly had perfect reproducibility when measuring an underlying construct that is static, this measurement will display imperfect reproducibility when used to measure an underlying construct that has moment-to-moment biologic variability within a given person (i.e., is not static). When we quantify within-person reproducibility by making multiple measurements in a given person, we typically cannot distinguish what is true biologic variability versus random measurement error. Both of these sources of variability are lumped together in the estimation of within-person error.